## Candor Raw and Validated
PM25[ug/m3(L)] Raw Vs Edited: CANDOR Monthly: 08/2018 1 Hr.
Date & Time | PM25_Raw µg/m3(L) | PM25_Raw_Status | PM25 µg/m3(L) | PM25_Status | Editor | Date Of Change | Comments
8/1/18 00:00 | 3 | Ok | 3 | Ok
8/1/18 01:00 | 4 | Ok | 4 | Ok
8/1/18 02:00 | 4 | Ok | 4 | Ok
8/1/18 03:00 | 6 | Ok | 6 | Ok
8/1/18 04:00 | 4 | Ok | 4 | Ok
8/1/18 05:00 | 8 | Ok | 8 | Ok
8/1/18 06:00 | 6 | Ok | 6 | Ok
8/1/18 07:00 | 5 | Ok | 5 | Ok
8/1/18 08:00 | 4 | Ok | 4 | Ok
8/1/18 09:00 | 2 | Ok | 2 | Ok
8/1/18 10:00 | 3 | Ok | 3 | Ok
8/1/18 11:00 | 4 | Ok | 4 | Ok
8/1/18 12:00 | 4 | Ok | 4 | Ok
8/1/18 13:00 | 8 | Ok | 8 | Ok
8/1/18 14:00 | 5 | Ok | 5 | Ok
8/1/18 15:00 | 1 | Ok | 1 | Ok
8/1/18 16:00 | 3 | Ok | 3 | Ok
8/1/18 17:00 | 5 | Ok | 5 | Ok
8/1/18 18:00 | 3 | Ok | 3 | Ok
8/1/18 19:00 | 2 | Ok | 2 | Ok
8/1/18 20:00 | 3 | Ok | 3 | Ok
8/1/18 21:00 | 3 | Ok | 3 | Ok
8/1/18 22:00 | 3 | Ok | 3 | Ok
8/1/18 23:00 | 1 | Ok | 1 | Ok
8/2/18 00:00 | -1 | Ok | -1 | Ok
8/2/18 01:00 | 1 | Ok | 1 | Ok
8/2/18 02:00 | 3 | Ok | 3 | Ok
8/2/18 03:00 | 2 | Ok | 2 | Ok
8/2/18 04:00 | 2 | Ok | 2 | Ok
8/2/18 05:00 | 7 | Ok | 7 | Ok
8/2/18 06:00 | 5 | Ok | 5 | Ok
8/2/18 07:00 | 8 | Ok | 8 | Ok
8/2/18 08:00 | 12 | Ok | 12 | Ok
8/2/18 09:00 | 11 | Ok | 11 | Ok
8/2/18 10:00 | 8 | Ok | 8 | Ok
8/2/18 11:00 | 10 | Ok | 10 | Ok
8/2/18 12:00 | 6 | Ok | 6 | Ok
8/2/18 13:00 | 6 | Ok | 6 | Ok
8/2/18 14:00 | 9 | Ok | 9 | Ok
8/2/18 15:00 | 6 | Ok | 6 | Ok
8/2/18 16:00 | 3 | Ok | 3 | Ok
8/2/18 17:00 | 2 | Ok | 2 | Ok
8/2/18 18:00 | 1 | Ok | 1 | Ok
8/2/18 19:00 | 1 | Ok | 1 | Ok
8/2/18 20:00 | 5 | Ok | 5 | Ok
8/2/18 21:00 | 4 | Ok | 4 | Ok
8/2/18 22:00 | 0 | Ok | 0 | Ok
8/2/18 23:00 | 2 | Ok | 2 | Ok
8/3/18 00:00 | 2 | Ok | 2 | Ok
8/3/18 01:00 | 1 | Ok | 1 | Ok
8/3/18 02:00 | 0 | Ok | 0 | Ok
8/3/18 03:00 | 0 | Ok | 0 | Ok
8/3/18 04:00 | 2 | Ok | 2 | Ok
8/3/18 05:00 | 2 | Ok | 2 | Ok
8/3/18 06:00 | 3 | Ok | 3 | Ok
8/3/18 07:00 | 3 | Ok | 3 | Ok
8/3/18 08:00 | 3 | Ok | 3 | Ok
8/3/18 09:00 | 4 | Ok | 4 | Ok
8/3/18 10:00 | 3 | Ok | 3 | Ok
8/3/18 11:00 | 6 | Ok | 6 | Ok
8/3/18 12:00 | 6 | Ok | 6 | Ok
8/3/18 13:00 | 4 | Ok | 4 | Ok
8/3/18 14:00 | 6 | Ok | 6 | Ok
8/3/18 15:00 | 3 | Ok | 3 | Ok
8/3/18 16:00 | 0 | Ok | 0 | Ok
8/3/18 17:00 | 2 | Ok | 2 | Ok
8/3/18 18:00 | 4 | Ok | 4 | Ok
8/3/18 19:00 | 1 | Ok | 1 | Ok
8/3/18 20:00 | 1 | Ok | 1 | Ok
8/3/18 21:00 | 1 | Ok | 1 | Ok
8/3/18 22:00 | -2 | Ok | -2 | Ok
8/3/18 23:00 | -2 | Ok | -2 | Ok
8/4/18 00:00 | 0 | Ok | 0 | Ok
8/4/18 01:00 | 0 | Ok | 0 | Ok
8/4/18 02:00 | -2 | Ok | -2 | Ok
8/4/18 03:00 | -1 | Ok | -1 | Ok
8/4/18 04:00 | 1 | Ok | 1 | Ok
8/4/18 05:00 | 4 | Ok | 4 | Ok
8/4/18 06:00 | 2 | Ok | 2 | Ok
8/4/18 07:00 | 6 | Ok | 6 | Ok
8/4/18 08:00 | 5 | Ok | 5 | Ok
8/4/18 09:00 | 3 | Ok | 3 | Ok
8/4/18 10:00 | 2 | Ok | 2 | Ok
8/4/18 11:00 | 6 | Ok | 6 | Ok
8/4/18 12:00 | 5 | Ok | 5 | Ok
8/4/18 13:00 | 4 | Ok | 4 | Ok
8/4/18 14:00 | 5 | Ok | 5 | Ok
8/4/18 15:00 | 3 | Ok | 3 | Ok
8/4/18 16:00 | 5 | Ok | 5 | Ok
8/4/18 17:00 | 6 | Ok | 6 | Ok
8/4/18 18:00 | 5 | Ok | 5 | Ok
8/4/18 19:00 | 5 | Ok | 5 | Ok
8/4/18 20:00 | 4 | Ok | 4 | Ok
8/4/18 21:00 | 6 | Ok | 6 | Ok
8/4/18 22:00 | 8 | Ok | 8 | Ok
8/4/18 23:00 | 5 | Ok | 5 | Ok
8/5/18 00:00 | 3 | Ok | 3 | Ok
8/5/18 01:00 | 3 | Ok | 3 | Ok
8/5/18 02:00 | 5 | Ok | 5 | Ok
8/5/18 03:00 | 5 | Ok | 5 | Ok
8/5/18 04:00 | 5 | Ok | 5 | Ok
8/5/18 05:00 | 3 | Ok | 3 | Ok
8/5/18 06:00 | 4 | Ok | 4 | Ok
8/5/18 07:00 | 4 | Ok | 4 | Ok
8/5/18 08:00 | 11 | Ok | 11 | Ok
8/5/18 09:00 | 15 | Ok | 15 | Ok
8/5/18 10:00 | 14 | Ok | 14 | Ok
8/5/18 11:00 | 7 | Ok | 7 | Ok
8/5/18 12:00 | 3 | Ok | 3 | Ok
8/5/18 13:00 | 4 | Ok | 4 | Ok
8/5/18 14:00 | 7 | Ok | 7 | Ok
8/5/18 15:00 | 6 | Ok | 6 | Ok
8/5/18 16:00 | 5 | Ok | 5 | Ok
8/5/18 17:00 | 2 | Ok | 2 | Ok
8/5/18 18:00 | 5 | Ok | 5 | Ok
8/5/18 19:00 | 3 | Ok | 3 | Ok
8/5/18 20:00 | 3 | Ok | 3 | Ok
8/5/18 21:00 | 6 | Ok | 6 | Ok
8/5/18 22:00 | 6 | Ok | 6 | Ok
8/5/18 23:00 | 3 | Ok | 3 | Ok
8/6/18 00:00 | -2 | Ok | -2 | Ok
8/6/18 01:00 | 3 | Ok | 3 | Ok
8/6/18 02:00 | 5 | Ok | 5 | Ok
8/6/18 03:00 | 3 | Ok | 3 | Ok
8/6/18 04:00 | 2 | Ok | 2 | Ok
8/6/18 05:00 | 6 | Ok | 6 | Ok
8/6/18 06:00 | 6 | Ok | 6 | Ok
8/6/18 07:00 | 6 | Ok | 6 | Ok
8/6/18 08:00 | 3 | Ok | 3 | Ok
8/6/18 09:00 | 1 | Ok | 1 | Ok
8/6/18 10:00 | 3 | Ok | 3 | Ok
8/6/18 11:00 | 6 | Ok | 6 | Ok
8/6/18 12:00 | 4 | Ok | 4 | Ok
8/6/18 13:00 | 6 | Ok | 6 | Ok
8/6/18 14:00 | 6 | Ok | 6 | Ok
8/6/18 15:00 | 3 | Ok | 3 | Ok
8/6/18 16:00 | 5 | Ok | 5 | Ok
8/6/18 17:00 | 4 | Ok | 4 | Ok
8/6/18 18:00 | 11 | Ok | 11 | Ok
8/6/18 19:00 | 7 | Ok | 7 | Ok
8/6/18 20:00 | 4 | Ok | 4 | Ok
8/6/18 21:00 | 7 | Ok | 7 | Ok
8/6/18 22:00 | 6 | Ok | 6 | Ok
8/6/18 23:00 | 5 | Ok | 5 | Ok
8/7/18 00:00 | 5 | Ok | 5 | Ok
8/7/18 01:00 | 5 | Ok | 5 | Ok
8/7/18 02:00 | 4 | Ok | 4 | Ok
8/7/18 03:00 | 5 | Ok | 5 | Ok
8/7/18 04:00 | 5 | Ok | 5 | Ok
8/7/18 05:00 | 3 | Ok | 3 | Ok
8/7/18 06:00 | 5 | Ok | 5 | Ok
8/7/18 07:00 | 5 | Ok | 5 | Ok
8/7/18 08:00 | 9 | Ok | 9 | Ok
8/7/18 09:00 | 5 | Ok | 5 | Ok
8/7/18 10:00 | 117 | Ok | 117 | Ok |  |  | High data point was investigated and coded with flags "5" - Outlier, and "V" - Validated. No void warranted. PJC
8/7/18 11:00 | 7 | Ok | 7 | Ok
8/7/18 12:00 | 6 | Ok | 6 | Ok
8/7/18 13:00 | 2 | Ok | 2 | Ok
8/7/18 14:00 | 4 | Ok | 4 | Ok
8/7/18 15:00 | 3 | Ok | 3 | Ok
8/7/18 16:00 | 2 | Ok | 2 | Ok
8/7/18 17:00 | 2 | Ok | 2 | Ok
8/7/18 18:00 | 4 | Ok | 4 | Ok
8/7/18 19:00 | 8 | Ok | 8 | Ok
8/7/18 20:00 | 6 | Ok | 6 | Ok
8/7/18 21:00 | 5 | Ok | 5 | Ok
8/7/18 22:00 | 6 | Ok | 6 | Ok
8/7/18 23:00 | 8 | Ok | 8 | Ok
8/8/18 00:00 | 8 | Ok | 8 | Ok
8/8/18 01:00 | 3 | Ok | 3 | Ok
8/8/18 02:00 | -1 | Ok | -1 | Ok
8/8/18 03:00 | 0 | Ok | 0 | Ok
8/8/18 04:00 | 2 | Ok | 2 | Ok
8/8/18 05:00 | 6 | Ok | 6 | Ok
8/8/18 06:00 | 4 | Ok | 4 | Ok
8/8/18 07:00 | 5 | Ok | 5 | Ok
8/8/18 08:00 | 7 | Ok | 7 | Ok
8/8/18 09:00 | 8 | Ok | 8 | Ok
8/8/18 10:00 | 13 | Ok | 13 | Ok
8/8/18 11:00 | 10 | Ok | 10 | Ok
8/8/18 12:00 | 8 | Ok | 8 | Ok
8/8/18 13:00 | 5 | Ok | 5 | Ok
8/8/18 14:00 | 4 | Ok | 4 | Ok
8/8/18 15:00 | 4 | Ok | 4 | Ok
8/8/18 16:00 | 4 | Ok | 4 | Ok
8/8/18 17:00 | 5 | Ok | 5 | Ok
8/8/18 18:00 | 9 | Ok | 9 | Ok
8/8/18 19:00 | 8 | Ok | 8 | Ok
8/8/18 20:00 | 5 | Ok | 5 | Ok
8/8/18 21:00 | 2 | Ok | 2 | Ok
8/8/18 22:00 | 5 | Ok | 5 | Ok
8/8/18 23:00 | 3 | Ok | 3 | Ok
8/9/18 00:00 | 1 | Ok | 1 | Ok
8/9/18 01:00 | 2 | Ok | 2 | Ok
8/9/18 02:00 | 4 | Ok | 4 | Ok
8/9/18 03:00 | 3 | Ok | 3 | Ok
8/9/18 04:00 | 4 | Ok | 4 | Ok
8/9/18 05:00 | 6 | Ok | 6 | Ok
8/9/18 06:00 | 5 | Ok | 5 | Ok
8/9/18 07:00 | 2 | Ok | 2 | Ok
8/9/18 08:00 | 1 | Ok | 1 | Ok
8/9/18 09:00 | 5 | Ok | 5 | Ok
8/9/18 10:00 | 5 | Ok | 5 | Ok
8/9/18 11:00 | 2 | Ok | 2 | Ok
8/9/18 12:00 | 3 | Ok | 3 | Ok
8/9/18 13:00 | 4 | Ok | 4 | Ok
8/9/18 14:00 | 5 | Ok | 5 | Ok
8/9/18 15:00 | 6 | Ok | 6 | Ok
8/9/18 16:00 | 6 | Ok | 6 | Ok
8/9/18 17:00 | 5 | Ok | 5 | Ok
8/9/18 18:00 | 8 | Ok | 8 | Ok
8/9/18 19:00 | 7 | Ok | 7 | Ok
8/9/18 20:00 | 15 | Ok | 15 | Ok
8/9/18 21:00 | 10 | Ok | 10 | Ok
8/9/18 22:00 | 8 | Ok | 8 | Ok
8/9/18 23:00 | 10 | Ok | 10 | Ok
8/10/18 00:00 | 5 | Ok | 5 | Ok
8/10/18 01:00 | 8 | Ok | 8 | Ok
8/10/18 02:00 | 10 | Ok | 10 | Ok
8/10/18 03:00 | 9 | Ok | 9 | Ok
8/10/18 04:00 | 10 | Ok | 10 | Ok
8/10/18 05:00 | 8 | Ok | 8 | Ok
8/10/18 06:00 | 8 | Ok | 8 | Ok
8/10/18 07:00 | 15 | Ok | 15 | Ok
8/10/18 08:00 | 11 | Ok | 11 | Ok
8/10/18 09:00 | 14 | Ok | 14 | Ok
8/10/18 10:00 | 11 | Ok | 11 | Ok
8/10/18 11:00 | 9 | Ok | 9 | Ok
8/10/18 12:00 | 7 | Ok | 7 | Ok
8/10/18 13:00 | 11 | Ok | 11 | Ok
8/10/18 14:00 | 8 | Ok | 8 | Ok
8/10/18 15:00 | 5 | Ok | 5 | Ok
8/10/18 16:00 | 7 | Ok | 7 | Ok
8/10/18 17:00 | 10 | Ok | 10 | Ok
8/10/18 18:00 | 7 | Ok | 7 | Ok
8/10/18 19:00 | 7 | Ok | 7 | Ok
8/10/18 20:00 | 9 | Ok | 9 | Ok
8/10/18 21:00 | 11 | Ok | 11 | Ok
8/10/18 22:00 | 10 | Ok | 10 | Ok
8/10/18 23:00 | 14 | Ok | 14 | Ok
8/11/18 00:00 | 8 | Ok | 8 | Ok
8/11/18 01:00 | 7 | Ok | 7 | Ok
8/11/18 02:00 | 5 | Ok | 5 | Ok
8/11/18 03:00 | 1 | Ok | 1 | Ok
8/11/18 04:00 | -3 | Ok | -3 | Ok
8/11/18 05:00 | 1 | Ok | 1 | Ok
8/11/18 06:00 | 3 | Ok | 3 | Ok
8/11/18 07:00 | 1 | Ok | 1 | Ok
8/11/18 08:00 | 6 | Ok | 6 | Ok
8/11/18 09:00 | 6 | Ok | 6 | Ok
8/11/18 10:00 | 7 | Ok | 7 | Ok
8/11/18 11:00 | 6 | Ok | 6 | Ok
8/11/18 12:00 | 6 | Ok | 6 | Ok
8/11/18 13:00 | 6 | Ok | 6 | Ok
8/11/18 14:00 | 6 | Ok | 6 | Ok
8/11/18 15:00 | 10 | Ok | 10 | Ok
8/11/18 16:00 | 7 | Ok | 7 | Ok
8/11/18 17:00 | 5 | Ok | 5 | Ok
8/11/18 18:00 | 6 | Ok | 6 | Ok
8/11/18 19:00 | 6 | Ok | 6 | Ok
8/11/18 20:00 | 5 | Ok | 5 | Ok
8/11/18 21:00 | 7 | Ok | 7 | Ok
8/11/18 22:00 | 7 | Ok | 7 | Ok
8/11/18 23:00 | 5 | Ok | 5 | Ok
8/12/18 00:00 | 7 | Ok | 7 | Ok
8/12/18 01:00 | 9 | Ok | 9 | Ok
8/12/18 02:00 | 7 | Ok | 7 | Ok
8/12/18 03:00 | 6 | Ok | 6 | Ok
8/12/18 04:00 | 5 | Ok | 5 | Ok
8/12/18 05:00 | 5 | Ok | 5 | Ok
8/12/18 06:00 | 9 | Ok | 9 | Ok
8/12/18 07:00 | 6 | Ok | 6 | Ok
8/12/18 08:00 | 12 | Ok | 12 | Ok
8/12/18 09:00 | 8 | Ok | 8 | Ok
8/12/18 10:00 | 9 | Ok | 9 | Ok
8/12/18 11:00 | 6 | Ok | 6 | Ok
8/12/18 12:00 | 8 | Ok | 8 | Ok
8/12/18 13:00 | 6 | Ok | 6 | Ok
8/12/18 14:00 | 6 | Ok | 6 | Ok
8/12/18 15:00 | 5 | Ok | 5 | Ok
8/12/18 16:00 | 4 | Ok | 4 | Ok
8/12/18 17:00 | 3 | Ok | 3 | Ok
8/12/18 18:00 | 10 | Ok | 10 | Ok
8/12/18 19:00 | 6 | Ok | 6 | Ok
8/12/18 20:00 | 4 | Ok | 4 | Ok
8/12/18 21:00 | 5 | Ok | 5 | Ok
8/12/18 22:00 | 0 | Ok | 0 | Ok
8/12/18 23:00 | -1 | Ok | -1 | Ok
8/13/18 00:00 | 1 | Ok | 1 | Ok
8/13/18 01:00 | 1 | Ok | 1 | Ok
8/13/18 02:00 | 2 | Ok | 2 | Ok
8/13/18 03:00 | 1 | Ok | 1 | Ok
8/13/18 04:00 | 1 | Ok | 1 | Ok
8/13/18 05:00 | 3 | Ok | 3 | Ok
8/13/18 06:00 | 3 | Ok | 3 | Ok
8/13/18 07:00 | 1 | Ok | 1 | Ok
8/13/18 08:00 | 0 | Ok | 0 | Ok
8/13/18 09:00 | 5 | Ok | 5 | Ok
8/13/18 10:00 | 7 | Ok | 7 | Ok
8/13/18 11:00 | 6 | Ok | 6 | Ok
8/13/18 12:00 | 6 | Ok | 6 | Ok
8/13/18 13:00 | 5 | Ok | 5 | Ok
8/13/18 14:00 | 8 | Ok | 8 | Ok
8/13/18 15:00 | 7 | Ok | 7 | Ok
8/13/18 16:00 | 7 | Ok | 7 | Ok
8/13/18 17:00 | 7 | Ok | 7 | Ok
8/13/18 18:00 | 8 | Ok | 8 | Ok
8/13/18 19:00 | 6 | Ok | 6 | Ok
8/13/18 20:00 | 13 | Ok | 13 | Ok
8/13/18 21:00 | 10 | Ok | 10 | Ok
8/13/18 22:00 | 6 | Ok | 6 | Ok
8/13/18 23:00 | 6 | Ok | 6 | Ok
8/14/18 00:00 | 5 | Ok | 5 | Ok
8/14/18 01:00 | 5 | Ok | 5 | Ok
8/14/18 02:00 | 6 | Ok | 6 | Ok
8/14/18 03:00 | 6 | Ok | 6 | Ok
8/14/18 04:00 | 4 | Ok | 4 | Ok
8/14/18 05:00 | 4 | Ok | 4 | Ok
8/14/18 06:00 | 7 | Ok | 7 | Ok
8/14/18 07:00 | 6 | Ok | 6 | Ok
8/14/18 08:00 | 8 | Ok | 8 | Ok
8/14/18 09:00 | 14 | Ok | 14 | Ok
8/14/18 10:00 | 14 | Ok | 14 | Ok | pjchappin | 9/18/18 12:50 | PJC
8/14/18 11:00 | 995 | Ok | 995 | Audit | pjchappin | 10/5/18 10:41 | PJC
8/14/18 12:00 | 995 | Ok | 995 | Maintain | scallen2 | 9/21/18 13:42 | Quarterly audit
8/14/18 13:00 | 995 | Ok | 995 | Maintain | scallen2 | 9/21/18 13:42 | Quarterly audit
8/14/18 14:00 | 5 | Ok | 5 | Ok
8/14/18 15:00 | 13 | Ok | 13 | Ok
8/14/18 16:00 | 10 | Ok | 10 | Ok
8/14/18 17:00 | 9 | Ok | 9 | Ok
8/14/18 18:00 | 10 | Ok | 10 | Ok
8/14/18 19:00 | 9 | Ok | 9 | Ok
8/14/18 20:00 | 10 | Ok | 10 | Ok
8/14/18 21:00 | 16 | Ok | 16 | Ok
8/14/18 22:00 | 16 | Ok | 16 | Ok
8/14/18 23:00 | 13 | Ok | 13 | Ok
8/15/18 00:00 | 13 | Ok | 13 | Ok
8/15/18 01:00 | 12 | Ok | 12 | Ok
8/15/18 02:00 | 15 | Ok | 15 | Ok
8/15/18 03:00 | 12 | Ok | 12 | Ok
8/15/18 04:00 | 9 | Ok | 9 | Ok
8/15/18 05:00 | 9 | Ok | 9 | Ok
8/15/18 06:00 | 12 | Ok | 12 | Ok
8/15/18 07:00 | 10 | Ok | 10 | Ok
8/15/18 08:00 | 13 | Ok | 13 | Ok
8/15/18 09:00 | 13 | Ok | 13 | Ok
8/15/18 10:00 | 14 | Ok | 14 | Ok
8/15/18 11:00 | 14 | Ok | 14 | Ok
8/15/18 12:00 | 17 | Ok | 17 | Ok
8/15/18 13:00 | 12 | Ok | 12 | Ok
8/15/18 14:00 | 12 | Ok | 12 | Ok
8/15/18 15:00 | 12 | Ok | 12 | Ok
8/15/18 16:00 | 17 | Ok | 17 | Ok
8/15/18 17:00 | 14 | Ok | 14 | Ok
8/15/18 18:00 | 11 | Ok | 11 | Ok
8/15/18 19:00 | 12 | Ok | 12 | Ok
8/15/18 20:00 | 11 | Ok | 11 | Ok
8/15/18 21:00 | 10 | Ok | 10 | Ok
8/15/18 22:00 | 14 | Ok | 14 | Ok
8/15/18 23:00 | 11 | Ok | 11 | Ok
8/16/18 00:00 | 13 | Ok | 13 | Ok
8/16/18 01:00 | 9 | Ok | 9 | Ok
8/16/18 02:00 | 10 | Ok | 10 | Ok
8/16/18 03:00 | 13 | Ok | 13 | Ok
8/16/18 04:00 | 13 | Ok | 13 | Ok
8/16/18 05:00 | 13 | Ok | 13 | Ok
8/16/18 06:00 | 13 | Ok | 13 | Ok
8/16/18 07:00 | 15 | Ok | 15 | Ok
8/16/18 08:00 | 16 | Ok | 16 | Ok
8/16/18 09:00 | 14 | Ok | 14 | Ok
8/16/18 10:00 | 21 | Ok | 21 | Ok
8/16/18 11:00 | 12 | Ok | 12 | Ok
8/16/18 12:00 | 16 | Ok | 16 | Ok
8/16/18 13:00 | 11 | Ok | 11 | Ok
8/16/18 14:00 | 17 | Ok | 17 | Ok
8/16/18 15:00 | 16 | Ok | 16 | Ok
8/16/18 16:00 | 17 | Ok | 17 | Ok
8/16/18 17:00 | 14 | Ok | 14 | Ok
8/16/18 18:00 | 10 | Ok | 10 | Ok
8/16/18 19:00 | 15 | Ok | 15 | Ok
8/16/18 20:00 | 13 | Ok | 13 | Ok
8/16/18 21:00 | 16 | Ok | 16 | Ok
8/16/18 22:00 | 6 | Ok | 6 | Ok
8/16/18 23:00 | 8 | Ok | 8 | Ok
8/17/18 00:00 | 14 | Ok | 14 | Ok
8/17/18 01:00 | 13 | Ok | 13 | Ok
8/17/18 02:00 | 10 | Ok | 10 | Ok
8/17/18 03:00 | 18 | Ok | 18 | Ok
8/17/18 04:00 | 12 | Ok | 12 | Ok
8/17/18 05:00 | 16 | Ok | 16 | Ok
8/17/18 06:00 | 9 | Ok | 9 | Ok
8/17/18 07:00 | 9 | Ok | 9 | Ok
8/17/18 08:00 | 9 | Ok | 9 | Ok
8/17/18 09:00 | 7 | Ok | 7 | Ok
8/17/18 10:00 | 6 | Ok | 6 | Ok
8/17/18 11:00 | 7 | Ok | 7 | Ok
8/17/18 12:00 | 11 | Ok | 11 | Ok
8/17/18 13:00 | 30 | Ok | 30 | Ok
8/17/18 14:00 | 15 | Ok | 15 | Ok
8/17/18 15:00 | 7 | Ok | 7 | Ok
8/17/18 16:00 | 7 | Ok | 7 | Ok
8/17/18 17:00 | 3 | Ok | 3 | Ok
8/17/18 18:00 | 1 | Ok | 1 | Ok
8/17/18 19:00 | 1 | Ok | 1 | Ok
8/17/18 20:00 | 5 | Ok | 5 | Ok
8/17/18 21:00 | 6 | Ok | 6 | Ok
8/17/18 22:00 | 5 | Ok | 5 | Ok
8/17/18 23:00 | 5 | Ok | 5 | Ok
8/18/18 00:00 | 5 | Ok | 5 | Ok
8/18/18 01:00 | 6 | Ok | 6 | Ok
8/18/18 02:00 | 1 | Ok | 1 | Ok
8/18/18 03:00 | 0 | Ok | 0 | Ok
8/18/18 04:00 | -1 | Ok | -1 | Ok
8/18/18 05:00 | 0 | Ok | 0 | Ok
8/18/18 06:00 | 4 | Ok | 4 | Ok
8/18/18 07:00 | 3 | Ok | 3 | Ok
8/18/18 08:00 | 5 | Ok | 5 | Ok
8/18/18 09:00 | 4 | Ok | 4 | Ok
8/18/18 10:00 | 6 | Ok | 6 | Ok
8/18/18 11:00 | 5 | Ok | 5 | Ok
8/18/18 12:00 | 5 | Ok | 5 | Ok
8/18/18 13:00 | 4 | Ok | 4 | Ok
8/18/18 14:00 | 2 | Ok | 2 | Ok
8/18/18 15:00 | 1 | Ok | 1 | Ok
8/18/18 16:00 | -2 | Ok | -2 | Ok
8/18/18 17:00 | 0 | Ok | 0 | Ok
8/18/18 18:00 | 5 | Ok | 5 | Ok
8/18/18 19:00 | 3 | Ok | 3 | Ok
8/18/18 20:00 | 5 | Ok | 5 | Ok
8/18/18 21:00 | 3 | Ok | 3 | Ok
8/18/18 22:00 | 6 | Ok | 6 | Ok
8/18/18 23:00 | 3 | Ok | 3 | Ok
8/19/18 00:00 | -2 | Ok | -2 | Ok
8/19/18 01:00 | -1 | Ok | -1 | Ok
8/19/18 02:00 | 5 | Ok | 5 | Ok
8/19/18 03:00 | 4 | Ok | 4 | Ok
8/19/18 04:00 | 5 | Ok | 5 | Ok
8/19/18 05:00 | 5 | Ok | 5 | Ok
8/19/18 06:00 | 6 | Ok | 6 | Ok
8/19/18 07:00 | 5 | Ok | 5 | Ok
8/19/18 08:00 | 11 | Ok | 11 | Ok
8/19/18 09:00 | 9 | Ok | 9 | Ok
8/19/18 10:00 | 9 | Ok | 9 | Ok
8/19/18 11:00 | 6 | Ok | 6 | Ok
8/19/18 12:00 | 6 | Ok | 6 | Ok
8/19/18 13:00 | 5 | Ok | 5 | Ok
8/19/18 14:00 | 3 | Ok | 3 | Ok
8/19/18 15:00 | 1 | Ok | 1 | Ok
8/19/18 16:00 | 6 | Ok | 6 | Ok
8/19/18 17:00 | 9 | Ok | 9 | Ok
8/19/18 18:00 | 9 | Ok | 9 | Ok
8/19/18 19:00 | 8 | Ok | 8 | Ok
8/19/18 20:00 | 7 | Ok | 7 | Ok
8/19/18 21:00 | 9 | Ok | 9 | Ok
8/19/18 22:00 | 8 | Ok | 8 | Ok
8/19/18 23:00 | 6 | Ok | 6 | Ok
8/20/18 00:00 | 9 | Ok | 9 | Ok
8/20/18 01:00 | 6 | Ok | 6 | Ok
8/20/18 02:00 | 4 | Ok | 4 | Ok
8/20/18 03:00 | 4 | Ok | 4 | Ok
8/20/18 04:00 | 10 | Ok | 10 | Ok
8/20/18 05:00 | 12 | Ok | 12 | Ok
8/20/18 06:00 | 10 | Ok | 10 | Ok
8/20/18 07:00 | 7 | Ok | 7 | Ok
8/20/18 08:00 | 5 | Ok | 5 | Ok
8/20/18 09:00 | 5 | Ok | 5 | Ok | pjchappin | 9/18/18 12:50 | PJC
8/20/18 10:00 | 995 | Ok | 995 | Maintain | scallen2 | 9/21/18 13:42 | Quarterly audit
8/20/18 11:00 | 11 | Ok | 11 | Ok
8/20/18 12:00 | 11 | Ok | 11 | Ok
8/20/18 13:00 | 7 | Ok | 7 | Ok
8/20/18 14:00 | 7 | Ok | 7 | Ok
8/20/18 15:00 | 7 | Ok | 7 | Ok
8/20/18 16:00 | 4 | Ok | 4 | Ok
8/20/18 17:00 | 9 | Ok | 9 | Ok
8/20/18 18:00 | 6 | Ok | 6 | Ok
8/20/18 19:00 | 3 | Ok | 3 | Ok
8/20/18 20:00 | 4 | Ok | 4 | Ok
8/20/18 21:00 | 8 | Ok | 8 | Ok
8/20/18 22:00 | 5 | Ok | 5 | Ok
8/20/18 23:00 | 2 | Ok | 2 | Ok
8/21/18 00:00 | 6 | Ok | 6 | Ok
8/21/18 01:00 | 6 | Ok | 6 | Ok
8/21/18 02:00 | 5 | Ok | 5 | Ok
8/21/18 03:00 | 4 | Ok | 4 | Ok
8/21/18 04:00 | 4 | Ok | 4 | Ok
8/21/18 05:00 | 7 | Ok | 7 | Ok
8/21/18 06:00 | 7 | Ok | 7 | Ok
8/21/18 07:00 | 5 | Ok | 5 | Ok
8/21/18 08:00 | 4 | Ok | 4 | Ok
8/21/18 09:00 | 6 | Ok | 6 | Ok
8/21/18 10:00 | 6 | Ok | 6 | Ok
8/21/18 11:00 | 4 | Ok | 4 | Ok
8/21/18 12:00 | 3 | Ok | 3 | Ok
8/21/18 13:00 | 10 | Ok | 10 | Ok
8/21/18 14:00 | 8 | Ok | 8 | Ok
8/21/18 15:00 | 8 | Ok | 8 | Ok
8/21/18 16:00 | 5 | Ok | 5 | Ok
8/21/18 17:00 | 2 | Ok | 2 | Ok
8/21/18 18:00 | 7 | Ok | 7 | Ok
8/21/18 19:00 | 6 | Ok | 6 | Ok
8/21/18 20:00 | 5 | Ok | 5 | Ok
8/21/18 21:00 | 6 | Ok | 6 | Ok
8/21/18 22:00 | 7 | Ok | 7 | Ok
8/21/18 23:00 | 3 | Ok | 3 | Ok
8/22/18 00:00 | 0 | Ok | 0 | Ok
8/22/18 01:00 | 3 | Ok | 3 | Ok
8/22/18 02:00 | 2 | Ok | 2 | Ok
8/22/18 03:00 | 4 | Ok | 4 | Ok
8/22/18 04:00 | 4 | Ok | 4 | Ok
8/22/18 05:00 | 5 | Ok | 5 | Ok
8/22/18 06:00 | 5 | Ok | 5 | Ok
8/22/18 07:00 | 7 | Ok | 7 | Ok
8/22/18 08:00 | 10 | Ok | 10 | Ok
8/22/18 09:00 | 8 | Ok | 8 | Ok
8/22/18 10:00 | 8 | Ok | 8 | Ok
8/22/18 11:00 | 6 | Ok | 6 | Ok
8/22/18 12:00 | 6 | Ok | 6 | Ok
8/22/18 13:00 | 8 | Ok | 8 | Ok
8/22/18 14:00 | 8 | Ok | 8 | Ok
8/22/18 15:00 | 5 | Ok | 5 | Ok
8/22/18 16:00 | 3 | Ok | 3 | Ok
8/22/18 17:00 | 3 | Ok | 3 | Ok
8/22/18 18:00 | 6 | Ok | 6 | Ok
8/22/18 19:00 | 7 | Ok | 7 | Ok
8/22/18 20:00 | 5 | Ok | 5 | Ok
8/22/18 21:00 | 3 | Ok | 3 | Ok
8/22/18 22:00 | 1 | Ok | 1 | Ok
8/22/18 23:00 | 5 | Ok | 5 | Ok
8/23/18 00:00 | 12 | Ok | 12 | Ok
8/23/18 01:00 | 12 | Ok | 12 | Ok
8/23/18 02:00 | 13 | Ok | 13 | Ok
8/23/18 03:00 | 16 | Ok | 16 | Ok
8/23/18 04:00 | 16 | Ok | 16 | Ok
8/23/18 05:00 | 10 | Ok | 10 | Ok
8/23/18 06:00 | 13 | Ok | 13 | Ok
8/23/18 07:00 | 13 | Ok | 13 | Ok
8/23/18 08:00 | 12 | Ok | 12 | Ok
8/23/18 09:00 | 10 | Ok | 10 | Ok
8/23/18 10:00 | 15 | Ok | 15 | Ok
8/23/18 11:00 | 17 | Ok | 17 | Ok
8/23/18 12:00 | 9 | Ok | 9 | Ok
8/23/18 13:00 | 13 | Ok | 13 | Ok
8/23/18 14:00 | 12 | Ok | 12 | Ok
8/23/18 15:00 | 14 | Ok | 14 | Ok
8/23/18 16:00 | 12 | Ok | 12 | Ok
8/23/18 17:00 | 10 | Ok | 10 | Ok
8/23/18 18:00 | 9 | Ok | 9 | Ok
8/23/18 19:00 | 9 | Ok | 9 | Ok
8/23/18 20:00 | 10 | Ok | 10 | Ok
8/23/18 21:00 | 7 | Ok | 7 | Ok
8/23/18 22:00 | 9 | Ok | 9 | Ok
8/23/18 23:00 | 6 | Ok | 6 | Ok
8/24/18 00:00 | 4 | Ok | 4 | Ok
8/24/18 01:00 | 6 | Ok | 6 | Ok
8/24/18 02:00 | 9 | Ok | 9 | Ok
8/24/18 03:00 | 6 | Ok | 6 | Ok
8/24/18 04:00 | 6 | Ok | 6 | Ok
8/24/18 05:00 | 6 | Ok | 6 | Ok
8/24/18 06:00 | 7 | Ok | 7 | Ok
8/24/18 07:00 | 5 | Ok | 5 | Ok
8/24/18 08:00 | 6 | Ok | 6 | Ok
8/24/18 09:00 | 6 | Ok | 6 | Ok
8/24/18 10:00 | 10 | Ok | 10 | Ok
8/24/18 11:00 | 8 | Ok | 8 | Ok
8/24/18 12:00 | 9 | Ok | 9 | Ok
8/24/18 13:00 | 11 | Ok | 11 | Ok
8/24/18 14:00 | 9 | Ok | 9 | Ok
8/24/18 15:00 | 6 | Ok | 6 | Ok
8/24/18 16:00 | 7 | Ok | 7 | Ok
8/24/18 17:00 | 10 | Ok | 10 | Ok
8/24/18 18:00 | 7 | Ok | 7 | Ok
8/24/18 19:00 | 6 | Ok | 6 | Ok
8/24/18 20:00 | 8 | Ok | 8 | Ok
8/24/18 21:00 | 11 | Ok | 11 | Ok
8/24/18 22:00 | 14 | Ok | 14 | Ok
8/24/18 23:00 | 12 | Ok | 12 | Ok
8/25/18 00:00 | 8 | Ok | 8 | Ok
8/25/18 01:00 | 6 | Ok | 6 | Ok
8/25/18 02:00 | 7 | Ok | 7 | Ok
8/25/18 03:00 | 6 | Ok | 6 | Ok
8/25/18 04:00 | 6 | Ok | 6 | Ok
8/25/18 05:00 | 14 | Ok | 14 | Ok
8/25/18 06:00 | 8 | Ok | 8 | Ok
8/25/18 07:00 | 4 | Ok | 4 | Ok
8/25/18 08:00 | 6 | Ok | 6 | Ok
8/25/18 09:00 | 6 | Ok | 6 | Ok
8/25/18 10:00 | 6 | Ok | 6 | Ok
8/25/18 11:00 | 8 | Ok | 8 | Ok
8/25/18 12:00 | 5 | Ok | 5 | Ok
8/25/18 13:00 | 6 | Ok | 6 | Ok
8/25/18 14:00 | 7 | Ok | 7 | Ok
8/25/18 15:00 | 7 | Ok | 7 | Ok
8/25/18 16:00 | 11 | Ok | 11 | Ok
8/25/18 17:00 | 8 | Ok | 8 | Ok
8/25/18 18:00 | 5 | Ok | 5 | Ok
8/25/18 19:00 | 6 | Ok | 6 | Ok
8/25/18 20:00 | 9 | Ok | 9 | Ok
8/25/18 21:00 | 8 | Ok | 8 | Ok
8/25/18 22:00 | 25 | Ok | 25 | Ok
8/25/18 23:00 | 6 | Ok | 6 | Ok
8/26/18 00:00 | 9 | Ok | 9 | Ok
8/26/18 01:00 | 7 | Ok | 7 | Ok
8/26/18 02:00 | 7 | Ok | 7 | Ok
8/26/18 03:00 | 5 | Ok | 5 | Ok
8/26/18 04:00 | 7 | Ok | 7 | Ok
8/26/18 05:00 | 9 | Ok | 9 | Ok
8/26/18 06:00 | 11 | Ok | 11 | Ok
8/26/18 07:00 | 9 | Ok | 9 | Ok
8/26/18 08:00 | 4 | Ok | 4 | Ok
8/26/18 09:00 | 3 | Ok | 3 | Ok
8/26/18 10:00 | 6 | Ok | 6 | Ok
8/26/18 11:00 | 10 | Ok | 10 | Ok
8/26/18 12:00 | 10 | Ok | 10 | Ok
8/26/18 13:00 | 9 | Ok | 9 | Ok
8/26/18 14:00 | 10 | Ok | 10 | Ok
8/26/18 15:00 | 13 | Ok | 13 | Ok
8/26/18 16:00 | 10 | Ok | 10 | Ok
8/26/18 17:00 | 8 | Ok | 8 | Ok
8/26/18 18:00 | 8 | Ok | 8 | Ok
8/26/18 19:00 | 11 | Ok | 11 | Ok
8/26/18 20:00 | 10 | Ok | 10 | Ok
8/26/18 21:00 | 8 | Ok | 8 | Ok
8/26/18 22:00 | 13 | Ok | 13 | Ok
8/26/18 23:00 | 15 | Ok | 15 | Ok
8/27/18 00:00 | 11 | Ok | 11 | Ok
8/27/18 01:00 | 7 | Ok | 7 | Ok
8/27/18 02:00 | 6 | Ok | 6 | Ok
8/27/18 03:00 | 10 | Ok | 10 | Ok
8/27/18 04:00 | 7 | Ok | 7 | Ok
8/27/18 05:00 | 7 | Ok | 7 | Ok
8/27/18 06:00 | 6 | Ok | 6 | Ok
8/27/18 07:00 | 10 | Ok | 10 | Ok
8/27/18 08:00 | 10 | Ok | 10 | Ok
8/27/18 09:00 | 12 | Ok | 12 | Ok
8/27/18 10:00 | 16 | Ok | 16 | Ok
8/27/18 11:00 | 12 | Ok | 12 | Ok
8/27/18 12:00 | 10 | Ok | 10 | Ok
8/27/18 13:00 | 16 | Ok | 16 | Ok
8/27/18 14:00 | 11 | Ok | 11 | Ok
8/27/18 15:00 | 9 | Ok | 9 | Ok
8/27/18 16:00 | 12 | Ok | 12 | Ok
8/27/18 17:00 | 15 | Ok | 15 | Ok
8/27/18 18:00 | 13 | Ok | 13 | Ok
8/27/18 19:00 | 21 | Ok | 21 | Ok
8/27/18 20:00 | 23 | Ok | 23 | Ok
8/27/18 21:00 | 18 | Ok | 18 | Ok
8/27/18 22:00 | 11 | Ok | 11 | Ok
8/27/18 23:00 | 13 | Ok | 13 | Ok
8/28/18 00:00 | 8 | Ok | 8 | Ok
8/28/18 01:00 | 7 | Ok | 7 | Ok
8/28/18 02:00 | 8 | Ok | 8 | Ok
8/28/18 03:00 | 6 | Ok | 6 | Ok
8/28/18 04:00 | 7 | Ok | 7 | Ok
8/28/18 05:00 | 4 | Ok | 4 | Ok
8/28/18 06:00 | 5 | Ok | 5 | Ok
8/28/18 07:00 | 4 | Ok | 4 | Ok
8/28/18 08:00 | 5 | Ok | 5 | Ok
8/28/18 09:00 | 995 | Maintain | 995 | Precision | pjchappin | 9/18/18 12:54 | PJC
8/28/18 10:00 | 995 | AboveR | 995 | Maintain | pjchappin | 9/18/18 12:54 | PJC
8/28/18 11:00 | 995 | AboveR | 995 | Maintain | pjchappin | 9/18/18 12:54 | PJC
8/28/18 12:00 | 11 | Ok | 11 | Ok
8/28/18 13:00 | 26 | Ok | 26 | Ok
8/28/18 14:00 | 13 | Ok | 13 | Ok
8/28/18 15:00 | 17 | Ok | 17 | Ok
8/28/18 16:00 | 16 | Ok | 16 | Ok
8/28/18 17:00 | 12 | Ok | 12 | Ok
8/28/18 18:00 | 11 | Ok | 11 | Ok
8/28/18 19:00 | 10 | Ok | 10 | Ok
8/28/18 20:00 | 13 | Ok | 13 | Ok
8/28/18 21:00 | 13 | Ok | 13 | Ok
8/28/18 22:00 | 10 | Ok | 10 | Ok
8/28/18 23:00 | 6 | Ok | 6 | Ok
8/29/18 00:00 | 5 | Ok | 5 | Ok
8/29/18 01:00 | 4 | Ok | 4 | Ok
8/29/18 02:00 | 3 | Ok | 3 | Ok
8/29/18 03:00 | 6 | Ok | 6 | Ok
8/29/18 04:00 | 4 | Ok | 4 | Ok
8/29/18 05:00 | 0 | Ok | 0 | Ok
8/29/18 06:00 | 8 | Ok | 8 | Ok
8/29/18 07:00 | 6 | Ok | 6 | Ok
8/29/18 08:00 | 5 | Ok | 5 | Ok
8/29/18 09:00 | 7 | Ok | 7 | Ok
8/29/18 10:00 | 14 | Ok | 14 | Ok
8/29/18 11:00 | 13 | Ok | 13 | Ok
8/29/18 12:00 | 12 | Ok | 12 | Ok
8/29/18 13:00 | 11 | Ok | 11 | Ok
8/29/18 14:00 | 16 | Ok | 16 | Ok
8/29/18 15:00 | 21 | Ok | 21 | Ok
8/29/18 16:00 | 19 | Ok | 19 | Ok
8/29/18 17:00 | 19 | Ok | 19 | Ok
8/29/18 18:00 | 17 | Ok | 17 | Ok
8/29/18 19:00 | 14 | Ok | 14 | Ok
8/29/18 20:00 | 12 | Ok | 12 | Ok
8/29/18 21:00 | 10 | Ok | 10 | Ok
8/29/18 22:00 | 6 | Ok | 6 | Ok
8/29/18 23:00 | 6 | Ok | 6 | Ok
8/30/18 00:00 | 7 | Ok | 7 | Ok
8/30/18 01:00 | 4 | Ok | 4 | Ok
8/30/18 02:00 | 5 | Ok | 5 | Ok
8/30/18 03:00 | 4 | Ok | 4 | Ok
8/30/18 04:00 | 3 | Ok | 3 | Ok
8/30/18 05:00 | 4 | Ok | 4 | Ok
8/30/18 06:00 | 5 | Ok | 5 | Ok
8/30/18 07:00 | 4 | Ok | 4 | Ok
8/30/18 08:00 | 4 | Ok | 4 | Ok
8/30/18 09:00 | 9 | Ok | 9 | Ok
8/30/18 10:00 | 8 | Ok | 8 | Ok
8/30/18 11:00 | 11 | Ok | 11 | Ok
8/30/18 12:00 | 6 | Ok | 6 | Ok
8/30/18 13:00 | 8 | Ok | 8 | Ok
8/30/18 14:00 | 8 | Ok | 8 | Ok
8/30/18 15:00 | 4 | Ok | 4 | Ok
8/30/18 16:00 | 3 | Ok | 3 | Ok
8/30/18 17:00 | 9 | Ok | 9 | Ok
8/30/18 18:00 | 10 | Ok | 10 | Ok
8/30/18 19:00 | 12 | Ok | 12 | Ok
8/30/18 20:00 | 10 | Ok | 10 | Ok
8/30/18 21:00 | 13 | Ok | 13 | Ok
8/30/18 22:00 | 7 | Ok | 7 | Ok
8/30/18 23:00 | 4 | Ok | 4 | Ok
8/31/18 00:00 | 3 | Ok | 3 | Ok
8/31/18 01:00 | 2 | Ok | 2 | Ok
8/31/18 02:00 | 2 | Ok | 2 | Ok
8/31/18 03:00 | 3 | Ok | 3 | Ok
8/31/18 04:00 | 3 | Ok | 3 | Ok
8/31/18 05:00 | 4 | Ok | 4 | Ok
8/31/18 06:00 | 5 | Ok | 5 | Ok
8/31/18 07:00 | 6 | Ok | 6 | Ok
8/31/18 08:00 | 7 | Ok | 7 | Ok
8/31/18 09:00 | 5 | Ok | 5 | Ok
8/31/18 10:00 | 8 | Ok | 8 | Ok
8/31/18 11:00 | 7 | Ok | 7 | Ok
8/31/18 12:00 | 6 | Ok | 6 | Ok
8/31/18 13:00 | 11 | Ok | 11 | Ok
8/31/18 14:00 | 10 | Ok | 10 | Ok
8/31/18 15:00 | 10 | Ok | 10 | Ok
8/31/18 16:00 | 9 | Ok | 9 | Ok
8/31/18 17:00 | 10 | Ok | 10 | Ok
8/31/18 18:00 | 9 | Ok | 9 | Ok
8/31/18 19:00 | 7 | Ok | 7 | Ok
8/31/18 20:00 | 8 | Ok | 8 | Ok
8/31/18 21:00 | 6 | Ok | 6 | Ok
8/31/18 22:00 | 7 | Ok | 7 | Ok
8/31/18 23:00 | 9 | Ok | 9 | Ok
Minimum | -3 |  | -3
MinDate | 8/11/18 04:00 |  | 8/11/18 04:00
Maximum | 995 |  | 117
MaxDate | 8/14/18 11:00 |  | 8/7/18 10:00
Avg | 12.4 |  | 7.1
Num | 741 |  | 737
Data[%] | 99.5 |  | 99
STD | 72.6 |  | 5.9

## Cowan Raw and Validated
E-BAM[mg/m3(L)] Raw Vs Edited: COWAN MUSEUM Monthly: 08/2018 1 Hr.
Date & Time | E-BAM_Raw µg/m3 | E-BAM_Raw_Status | E-BAM µg/m3 | E-BAM_Status | Editor | Date Of Change | Comments
8/1/18 00:00 | 1 | Ok | 1 | Ok
8/1/18 01:00 | 1 | Ok | 1 | Ok
8/1/18 02:00 | 1 | Ok | 1 | Ok
8/1/18 03:00 | 1 | Ok | 1 | Ok
8/1/18 04:00 | 1 | Ok | 1 | Ok
8/1/18 05:00 | 1 | Ok | 1 | Ok
8/1/18 06:00 | 1 | Ok | 1 | Ok
8/1/18 07:00 | 1 | Ok | 1 | Ok
8/1/18 08:00 | 1 | Ok | 1 | Ok
8/1/18 09:00 | 0 | Ok | 0 | MultiCal | pjchappin | 9/18/18 10:48 | PJC
8/1/18 10:00 | 18 | Ok | 18 | Maintain | pjchappin | 9/18/18 10:48 | PJC
8/1/18 11:00 | 5 | Ok | 5 | Ok
8/1/18 12:00 | 17 | Ok | 17 | Ok
8/1/18 13:00 | -5 | Ok | -5 | Ok
8/1/18 14:00 | 6 | Ok | 6 | Ok
8/1/18 15:00 | 12 | Ok | 12 | Ok
8/1/18 16:00 | 7 | Ok | 7 | Ok
8/1/18 17:00 | 10 | Ok | 10 | Ok
8/1/18 18:00 | 3 | Ok | 3 | Ok
8/1/18 19:00 | -5 | Ok | -5 | Ok
8/1/18 20:00 | 5 | Ok | 5 | Ok
8/1/18 21:00 | 7 | Ok | 7 | Ok
8/1/18 22:00 | 3 | Ok | 3 | Ok
8/1/18 23:00 | 2 | Ok | 2 | Ok
8/2/18 00:00 | 2 | Ok | 2 | Ok
8/2/18 01:00 | 2 | Ok | 2 | Ok
8/2/18 02:00 | 4 | Ok | 4 | Ok
8/2/18 03:00 | 3 | Ok | 3 | Ok
8/2/18 04:00 | 3 | Ok | 3 | Ok
8/2/18 05:00 | 3 | Ok | 3 | Ok
8/2/18 06:00 | -1 | Ok | -1 | Ok
8/2/18 07:00 | 3 | Ok | 3 | Ok
8/2/18 08:00 | 4 | Ok | 4 | Ok
8/2/18 09:00 | 3 | Ok | 3 | Ok
8/2/18 10:00 | -3 | Ok | -3 | Ok
8/2/18 11:00 | 34 | Ok | 34 | Ok
8/2/18 12:00 | 3 | Ok | 3 | Ok
8/2/18 13:00 | 4 | Ok | 4 | Ok
8/2/18 14:00 | -1 | Ok | -1 | Ok
8/2/18 15:00 | 6 | Ok | 6 | Ok
8/2/18 16:00 | -2 | Ok | -2 | Ok
8/2/18 17:00 | 5 | Ok | 5 | Ok
8/2/18 18:00 | 7 | Ok | 7 | Ok
8/2/18 19:00 | 0 | Ok | 0 | Ok
8/2/18 20:00 | 5 | Ok | 5 | Ok
8/2/18 21:00 | 9 | Ok | 9 | Ok
8/2/18 22:00 | 5 | Ok | 5 | Ok
8/2/18 23:00 | 3 | Ok | 3 | Ok
8/3/18 00:00 | 7 | Ok | 7 | Ok
8/3/18 01:00 | 0 | Ok | 0 | Ok
8/3/18 02:00 | 5 | Ok | 5 | Ok
8/3/18 03:00 | -1 | Ok | -1 | Ok
8/3/18 04:00 | 6 | Ok | 6 | Ok
8/3/18 05:00 | 0 | Ok | 0 | Ok
8/3/18 06:00 | 2 | Ok | 2 | Ok
8/3/18 07:00 | 1 | Ok | 1 | Ok
8/3/18 08:00 | 4 | Ok | 4 | Ok
8/3/18 09:00 | -2 | Ok | -2 | Ok
8/3/18 10:00 | -2 | Ok | -2 | Ok
8/3/18 11:00 | 11 | Ok | 11 | Ok
8/3/18 12:00 | 6 | Ok | 6 | Ok
8/3/18 13:00 | -5 | Ok | -5 | Ok
8/3/18 14:00 | 11 | Ok | 11 | Ok
8/3/18 15:00 | -5 | Ok | -5 | Ok
8/3/18 16:00 | 5 | Ok | 5 | Ok
8/3/18 17:00 | 2 | Ok | 2 | Ok
8/3/18 18:00 | 1 | Ok | 1 | Ok
8/3/18 19:00 | 0 | Ok | 0 | Ok
8/3/18 20:00 | -1 | Ok | -1 | Ok
8/3/18 21:00 | 8 | Ok | 8 | Ok
8/3/18 22:00 | -2 | Ok | -2 | Ok
8/3/18 23:00 | 3 | Ok | 3 | Ok
8/4/18 00:00 | 3 | Ok | 3 | Ok
8/4/18 01:00 | 1 | Ok | 1 | Ok
8/4/18 02:00 | -3 | Ok | -3 | Ok
8/4/18 03:00 | 3 | Ok | 3 | Ok
8/4/18 04:00 | 0 | Ok | 0 | Ok
8/4/18 05:00 | 6 | Ok | 6 | Ok
8/4/18 06:00 | 6 | Ok | 6 | Ok
8/4/18 07:00 | -1 | Ok | -1 | Ok
8/4/18 08:00 | 6 | Ok | 6 | Ok
8/4/18 09:00 | 17 | Ok | 17 | Ok
8/4/18 10:00 | 3 | Ok | 3 | Ok
8/4/18 11:00 | 4 | Ok | 4 | Ok
8/4/18 12:00 | 12 | Ok | 12 | Ok
8/4/18 13:00 | -5 | Ok | -5 | Ok
8/4/18 14:00 | -1 | Ok | -1 | Ok
8/4/18 15:00 | 4 | Ok | 4 | Ok
8/4/18 16:00 | 18 | Ok | 18 | Ok
8/4/18 17:00 | 5 | Ok | 5 | Ok
8/4/18 18:00 | -5 | Ok | -5 | Ok
8/4/18 19:00 | 4 | Ok | 4 | Ok
8/4/18 20:00 | 12 | Ok | 12 | Ok
8/4/18 21:00 | -1 | Ok | -1 | Ok
8/4/18 22:00 | 9 | Ok | 9 | Ok
8/4/18 23:00 | 9 | Ok | 9 | Ok
8/5/18 00:00 | 7 | Ok | 7 | Ok
8/5/18 01:00 | 0 | Ok | 0 | Ok
8/5/18 02:00 | 11 | Ok | 11 | Ok
8/5/18 03:00 | 7 | Ok | 7 | Ok
8/5/18 04:00 | 0 | Ok | 0 | Ok
8/5/18 05:00 | 2 | Ok | 2 | Ok
8/5/18 06:00 | 7 | Ok | 7 | Ok
8/5/18 07:00 | 3 | Ok | 3 | Ok
8/5/18 08:00 | 16 | Ok | 16 | Ok
8/5/18 09:00 | 23 | Ok | 23 | Ok
8/5/18 10:00 | 2 | Ok | 2 | Ok
8/5/18 11:00 | 7 | Ok | 7 | Ok
8/5/18 12:00 | 11 | Ok | 11 | Ok
8/5/18 13:00 | -1 | Ok | -1 | Ok
8/5/18 14:00 | 9 | Ok | 9 | Ok
8/5/18 15:00 | 6 | Ok | 6 | Ok
8/5/18 16:00 | 9 | Ok | 9 | Ok
8/5/18 17:00 | 7 | Ok | 7 | Ok
8/5/18 18:00 | 12 | Ok | 12 | Ok
8/5/18 19:00 | -5 | Ok | -5 | Ok
8/5/18 20:00 | 6 | Ok | 6 | Ok
8/5/18 21:00 | 6 | Ok | 6 | Ok
8/5/18 22:00 | 3 | Ok | 3 | Ok
8/5/18 23:00 | 9 | Ok | 9 | Ok
8/6/18 00:00 | 7 | Ok | 7 | Ok
8/6/18 01:00 | 12 | Ok | 12 | Ok
8/6/18 02:00 | -1 | Ok | -1 | Ok
8/6/18 03:00 | 10 | Ok | 10 | Ok
8/6/18 04:00 | 1 | Ok | 1 | Ok
8/6/18 05:00 | 8 | Ok | 8 | Ok
8/6/18 06:00 | 7 | Ok | 7 | Ok
8/6/18 07:00 | 8 | Ok | 8 | Ok
8/6/18 08:00 | 8 | Ok | 8 | Ok
8/6/18 09:00 | 16 | Ok | 16 | Ok
8/6/18 10:00 | 15 | Ok | 15 | Ok
8/6/18 11:00 | 6 | Ok | 6 | Ok
8/6/18 12:00 | 12 | Ok | 12 | Ok
8/6/18 13:00 | 3 | Ok | 3 | Ok
8/6/18 14:00 | 13 | Ok | 13 | Ok
8/6/18 15:00 | 9 | Ok | 9 | Ok
8/6/18 16:00 | 14 | Ok | 14 | Ok
8/6/18 17:00 | 11 | Ok | 11 | Ok
8/6/18 18:00 | 20 | Ok | 20 | Ok
8/6/18 19:00 | -4 | Ok | -4 | Ok
8/6/18 20:00 | 12 | Ok | 12 | Ok
8/6/18 21:00 | 11 | Ok | 11 | Ok
8/6/18 22:00 | 3 | Ok | 3 | Ok
8/6/18 23:00 | 13 | Ok | 13 | Ok
8/7/18 00:00 | 8 | Ok | 8 | Ok
8/7/18 01:00 | 6 | Ok | 6 | Ok
8/7/18 02:00 | 7 | Ok | 7 | Ok
8/7/18 03:00 | 14 | Ok | 14 | Ok
8/7/18 04:00 | 6 | Ok | 6 | Ok
8/7/18 05:00 | 11 | Ok | 11 | Ok
8/7/18 06:00 | 8 | Ok | 8 | Ok
8/7/18 07:00 | 11 | Ok | 11 | Ok
8/7/18 08:00 | 10 | Ok | 10 | Ok
8/7/18 09:00 | 30 | Ok | 30 | Ok
8/7/18 10:00 | 9 | Ok | 9 | Ok
8/7/18 11:00 | 7 | Ok | 7 | Ok
8/7/18 12:00 | 9 | Ok | 9 | Ok
8/7/18 13:00 | 7 | Ok | 7 | Ok
8/7/18 14:00 | 12 | Ok | 12 | Ok
8/7/18 15:00 | 8 | Ok | 8 | Ok
8/7/18 16:00 | 11 | Ok | 11 | Ok
8/7/18 17:00 | 12 | Ok | 12 | Ok
8/7/18 18:00 | 9 | Ok | 9 | Ok
8/7/18 19:00 | 18 | Ok | 18 | Ok
8/7/18 20:00 | -5 | Ok | -5 | Ok
8/7/18 21:00 | 15 | Ok | 15 | Ok
8/7/18 22:00 | 9 | Ok | 9 | Ok
8/7/18 23:00 | 3 | Ok | 3 | Ok
8/8/18 00:00 | 13 | Ok | 13 | Ok
8/8/18 01:00 | 1 | Ok | 1 | Ok
8/8/18 02:00 | 11 | Ok | 11 | Ok
8/8/18 03:00 | 5 | Ok | 5 | Ok
8/8/18 04:00 | 5 | Ok | 5 | Ok
8/8/18 05:00 | 8 | Ok | 8 | Ok
8/8/18 06:00 | 4 | Ok | 4 | Ok
8/8/18 07:00 | 5 | Ok | 5 | Ok
8/8/18 08:00 | 4 | Ok | 4 | Ok
8/8/18 09:00 | 25 | Ok | 25 | Ok
8/8/18 10:00 | 25 | Ok | 25 | Precision | pjchappin | 9/18/18 10:48 | PJC
8/8/18 11:00 | 14 | Ok | 14 | Maintain | pjchappin | 9/18/18 10:48 | PJC
8/8/18 12:00 | 10 | Ok | 10 | Ok
8/8/18 13:00 | 12 | Ok | 12 | Ok
8/8/18 14:00 | 9 | Ok | 9 | Ok
8/8/18 15:00 | 9 | Ok | 9 | Ok
8/8/18 16:00 | 16 | Ok | 16 | Ok
8/8/18 17:00 | 15 | Ok | 15 | Ok
8/8/18 18:00 | 9 | Ok | 9 | Ok
8/8/18 19:00 | -5 | Ok | -5 | Ok
8/8/18 20:00 | 16 | Ok | 16 | Ok
8/8/18 21:00 | 4 | Ok | 4 | Ok
8/8/18 22:00 | 3 | Ok | 3 | Ok
8/8/18 23:00 | 7 | Ok | 7 | Ok
8/9/18 00:00 | 4 | Ok | 4 | Ok
8/9/18 01:00 | 1 | Ok | 1 | Ok
8/9/18 02:00 | 5 | Ok | 5 | Ok
8/9/18 03:00 | 4 | Ok | 4 | Ok
8/9/18 04:00 | 8 | Ok | 8 | Ok
8/9/18 05:00 | 1 | Ok | 1 | Ok
8/9/18 06:00 | 11 | Ok | 11 | Ok
8/9/18 07:00 | 4 | Ok | 4 | Ok
8/9/18 08:00 | 8 | Ok | 8 | Ok
8/9/18 09:00 | 16 | Ok | 16 | Ok
8/9/18 10:00 | 8 | Ok | 8 | Ok
8/9/18 11:00 | 8 | Ok | 8 | Ok
8/9/18 12:00 | 4 | Ok | 4 | Ok
8/9/18 13:00 | 13 | Ok | 13 | Ok
8/9/18 14:00 | 5 | Ok | 5 | Ok
8/9/18 15:00 | 7 | Ok | 7 | Ok
8/9/18 16:00 | 10 | Ok | 10 | Ok
8/9/18 17:00 | 6 | Ok | 6 | Ok
8/9/18 18:00 | 11 | Ok | 11 | Ok
8/9/18 19:00 | 26 | Ok | 26 | Ok
8/9/18 20:00 | -5 | Ok | -5 | Ok
8/9/18 21:00 | 28 | Ok | 28 | Ok
8/9/18 22:00 | 4 | Ok | 4 | Ok
8/9/18 23:00 | 10 | Ok | 10 | Ok
8/10/18 00:00 | 10 | Ok | 10 | Ok
8/10/18 01:00 | 8 | Ok | 8 | Ok
8/10/18 02:00 | 17 | Ok | 17 | Ok
8/10/18 03:00 | 12 | Ok | 12 | Ok
8/10/18 04:00 | 16 | Ok | 16 | Ok
8/10/18 05:00 | 13 | Ok | 13 | Ok
8/10/18 06:00 | 19 | Ok | 19 | Ok
8/10/18 07:00 | 8 | Ok | 8 | Ok
8/10/18 08:00 | 29 | Ok | 29 | Ok
8/10/18 09:00 | 9 | Ok | 9 | Ok
8/10/18 10:00 | 15 | Ok | 15 | Ok
8/10/18 11:00 | 11 | Ok | 11 | Ok
8/10/18 12:00 | 8 | Ok | 8 | Ok
8/10/18 13:00 | 4 | Ok | 4 | Ok
8/10/18 14:00 | 15 | Ok | 15 | Ok
8/10/18 15:00 | 15 | Ok | 15 | Ok
8/10/18 16:00 | 8 | Ok | 8 | Ok
8/10/18 17:00 | 16 | Ok | 16 | Ok
8/10/18 18:00 | 11 | Ok | 11 | Ok
8/10/18 19:00 | 22 | Ok | 22 | Ok
8/10/18 20:00 | -5 | Ok | -5 | Ok
8/10/18 21:00 | 27 | Ok | 27 | Ok
8/10/18 22:00 | 7 | Ok | 7 | Ok
8/10/18 23:00 | 15 | Ok | 15 | Ok
8/11/18 00:00 | 21 | Ok | 21 | Ok
8/11/18 01:00 | 10 | Ok | 10 | Ok
8/11/18 02:00 | 23 | Ok | 23 | Ok
8/11/18 03:00 | 13 | Ok | 13 | Ok
8/11/18 04:00 | 15 | Ok | 15 | Ok
8/11/18 05:00 | 11 | Ok | 11 | Ok
8/11/18 06:00 | 9 | Ok | 9 | Ok
8/11/18 07:00 | 11 | Ok | 11 | Ok
8/11/18 08:00 | 8 | Ok | 8 | Ok
8/11/18 09:00 | 32 | Ok | 32 | Ok
8/11/18 10:00 | 3 | Ok | 3 | Ok
8/11/18 11:00 | 8 | Ok | 8 | Ok
8/11/18 12:00 | 11 | Ok | 11 | Ok
8/11/18 13:00 | 18 | Ok | 18 | Ok
8/11/18 14:00 | -5 | Ok | -5 | Ok
8/11/18 15:00 | 16 | Ok | 16 | Ok
8/11/18 16:00 | 7 | Ok | 7 | Ok
8/11/18 17:00 | 17 | Ok | 17 | Ok
8/11/18 18:00 | -5 | Ok | -5 | Ok
8/11/18 19:00 | 3 | Ok | 3 | Ok
8/11/18 20:00 | 6 | Ok | 6 | Ok
8/11/18 21:00 | 10 | Ok | 10 | Ok
8/11/18 22:00 | 1 | Ok | 1 | Ok
8/11/18 23:00 | 5 | Ok | 5 | Ok
8/12/18 00:00 | 7 | Ok | 7 | Ok
8/12/18 01:00 | -5 | Ok | -5 | Ok
8/12/18 02:00 | 6 | Ok | 6 | Ok
8/12/18 03:00 | 10 | Ok | 10 | Ok
8/12/18 04:00 | 10 | Ok | 10 | Ok
8/12/18 05:00 | 2 | Ok | 2 | Ok
8/12/18 06:00 | 5 | Ok | 5 | Ok
8/12/18 07:00 | 9 | Ok | 9 | Ok
8/12/18 08:00 | 7 | Ok | 7 | Ok
8/12/18 09:00 | 34 | Ok | 34 | Ok
8/12/18 10:00 | 6 | Ok | 6 | Ok
8/12/18 11:00 | 8 | Ok | 8 | Ok
8/12/18 12:00 | 15 | Ok | 15 | Ok
8/12/18 13:00 | 5 | Ok | 5 | Ok
8/12/18 14:00 | 16 | Ok | 16 | Ok
8/12/18 15:00 | 9 | Ok | 9 | Ok
8/12/18 16:00 | 11 | Ok | 11 | Ok
8/12/18 17:00 | 3 | Ok | 3 | Ok
8/12/18 18:00 | 12 | Ok | 12 | Ok
8/12/18 19:00 | 8 | Ok | 8 | Ok
8/12/18 20:00 | 3 | Ok | 3 | Ok
8/12/18 21:00 | 2 | Ok | 2 | Ok
8/12/18 22:00 | 7 | Ok | 7 | Ok
8/12/18 23:00 | -1 | Ok | -1 | Ok
8/13/18 00:00 | 7 | Ok | 7 | Ok
8/13/18 01:00 | 2 | Ok | 2 | Ok
8/13/18 02:00 | -5 | Ok | -5 | Ok
8/13/18 03:00 | 9 | Ok | 9 | Ok
8/13/18 04:00 | -4 | Ok | -4 | Ok
8/13/18 05:00 | 0 | Ok | 0 | Ok
8/13/18 06:00 | 1 | Ok | 1 | Ok
8/13/18 07:00 | 5 | Ok | 5 | Ok
8/13/18 08:00 | 3 | Ok | 3 | Ok
8/13/18 09:00 | 17 | Ok | 17 | Ok
8/13/18 10:00 | 0 | Ok | 0 | Ok
8/13/18 11:00 | 7 | Ok | 7 | Ok
8/13/18 12:00 | 3 | Ok | 3 | Ok
8/13/18 13:00 | -1 | Ok | -1 | Ok
8/13/18 14:00 | 9 | Ok | 9 | Ok
8/13/18 15:00 | 7 | Ok | 7 | Ok
8/13/18 16:00 | 9 | Ok | 9 | Ok
8/13/18 17:00 | 7 | Ok | 7 | Ok
8/13/18 18:00 | 10 | Ok | 10 | Ok
8/13/18 19:00 | -3 | Ok | -3 | Ok
8/13/18 20:00 | 9 | Ok | 9 | Ok
8/13/18 21:00 | 8 | Ok | 8 | Ok
8/13/18 22:00 | 10 | Ok | 10 | Ok
8/13/18 23:00 | 8 | Ok | 8 | Ok
8/14/18 00:00 | 8 | Ok | 8 | Ok
8/14/18 01:00 | 1 | Ok | 1 | Ok
8/14/18 02:00 | 10 | Ok | 10 | Ok
8/14/18 03:00 | 15 | Ok | 15 | Ok
8/14/18 04:00 | 9 | Ok | 9 | Ok
8/14/18 05:00 | 4 | Ok | 4 | Ok
8/14/18 06:00 | 16 | Ok | 16 | Ok
8/14/18 07:00 | 8 | Ok | 8 | Ok
8/14/18 08:00 | 3 | Ok | 3 | Ok
8/14/18 09:00 | 25 | Ok | 25 | Ok
8/14/18 10:00 | 10 | Ok | 10 | Ok
8/14/18 11:00 | 6 | Ok | 6 | Ok
8/14/18 12:00 | 12 | Ok | 12 | Ok
8/14/18 13:00 | 14 | Ok | 14 | Ok
8/14/18 14:00 | 12 | Ok | 12 | Ok
8/14/18 15:00 | 17 | Ok | 17 | Ok
8/14/18 16:00 | 7 | Ok | 7 | Ok
8/14/18 17:00 | -5 | Ok | -5 | Ok
8/14/18 18:00 | 24 | Ok | 24 | Ok
8/14/18 19:00 | -2 | Ok | -2 | Ok
8/14/18 20:00 | 11 | Ok | 11 | Ok
8/14/18 21:00 | 8 | Ok | 8 | Ok
8/14/18 22:00 | 15 | Ok | 15 | Ok
8/14/18 23:00 | 6 | Ok | 6 | Ok
8/15/18 00:00 | 7 | Ok | 7 | Ok
8/15/18 01:00 | 7 | Ok | 7 | Ok
8/15/18 02:00 | 17 | Ok | 17 | Ok
8/15/18 03:00 | 11 | Ok | 11 | Ok
8/15/18 04:00 | 10 | Ok | 10 | Ok
8/15/18 05:00 | 16 | Ok | 16 | Ok
8/15/18 06:00 | 11 | Ok | 11 | Ok
8/15/18 07:00 | 12 | Ok | 12 | Ok
8/15/18 08:00 | 13 | Ok | 13 | Ok
8/15/18 09:00 | 13 | Ok | 13 | Precision | pjchappin | 9/18/18 10:48 | PJC
8/15/18 10:00 | 0 | Ok | 0 | Maintain | pjchappin | 9/18/18 12:40 | PJC
8/15/18 11:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 12:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 13:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 14:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 15:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 16:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 17:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 18:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 19:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 20:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 21:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 22:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/15/18 23:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 00:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 01:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 02:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 03:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 04:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 05:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 06:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 07:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 08:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 09:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 10:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 11:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 12:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 13:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 14:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 15:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 16:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 17:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 18:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 19:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 20:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 21:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 22:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/16/18 23:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 00:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 01:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 02:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 03:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 04:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 05:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 06:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 07:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 08:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 09:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 10:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 11:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 12:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 13:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 14:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 15:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 16:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 17:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 18:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 19:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 20:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 21:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 22:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/17/18 23:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 00:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 01:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 02:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 03:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 04:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 05:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 06:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 07:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 08:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 09:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 10:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 11:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 12:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 13:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 14:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 15:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 16:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 17:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 18:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 19:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 20:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 21:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 22:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/18/18 23:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 00:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 01:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 02:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 03:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 04:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 05:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 06:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 07:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 08:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 09:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 10:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 11:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 12:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 13:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 14:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 15:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 16:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 17:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 18:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 19:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 20:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 21:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 22:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/19/18 23:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 00:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 01:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 02:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 03:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 04:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 05:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 06:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 07:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 08:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 09:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 10:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 11:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 12:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 13:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 14:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 15:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 16:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 17:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 18:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 19:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 20:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 21:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 22:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/20/18 23:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 00:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 01:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 02:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 03:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 04:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 05:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 06:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 07:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 08:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 09:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 10:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 11:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 12:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 13:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 14:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 15:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 16:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 17:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 18:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 19:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 20:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 21:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 22:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/21/18 23:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 00:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 01:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 02:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 03:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 04:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 05:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 06:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 07:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 08:00 | 0 | Ok | 0 | MalFunc | pjchappin | 9/18/18 12:40 | Monitor failed to pass self test. Replaced a week later. PJC
8/22/18 09:00 | 0 | Ok | 0 | Precision | pjchappin | 9/18/18 10:48 | PJC
8/22/18 10:00 | 34 | Ok | 34 | Maintain | pjchappin | 9/18/18 10:48 | PJC
8/22/18 11:00 | 11 | Ok | 11 | Ok
8/22/18 12:00 | 13 | Ok | 13 | Ok
8/22/18 13:00 | 14 | Ok | 14 | Ok
8/22/18 14:00 | 9 | Ok | 9 | Ok
8/22/18 15:00 | 9 | Ok | 9 | Ok
8/22/18 16:00 | 10 | Ok | 10 | Ok
8/22/18 17:00 | 6 | Ok | 6 | Ok
8/22/18 18:00 | 13 | Ok | 13 | Ok
8/22/18 19:00 | 19 | Ok | 19 | Ok
8/22/18 20:00 | 23 | Ok | 23 | Ok
8/22/18 21:00 | 12 | Ok | 12 | Ok
8/22/18 22:00 | 10 | Ok | 10 | Ok
8/22/18 23:00 | 16 | Ok | 16 | Ok
8/23/18 00:00 | 15 | Ok | 15 | Ok
8/23/18 01:00 | 14 | Ok | 14 | Ok
8/23/18 02:00 | 13 | Ok | 13 | Ok
8/23/18 03:00 | 2 | Ok | 2 | Ok
8/23/18 04:00 | 17 | Ok | 17 | Ok
8/23/18 05:00 | 20 | Ok | 20 | Ok
8/23/18 06:00 | 16 | Ok | 16 | Ok
8/23/18 07:00 | 15 | Ok | 15 | Ok
8/23/18 08:00 | 13 | Ok | 13 | Ok
8/23/18 09:00 | -2 | Ok | -2 | Ok
8/23/18 10:00 | 8 | Ok | 8 | Ok
8/23/18 11:00 | 16 | Ok | 16 | Ok
8/23/18 12:00 | 8 | Ok | 8 | Ok
8/23/18 13:00 | 11 | Ok | 11 | Ok
8/23/18 14:00 | 13 | Ok | 13 | Ok
8/23/18 15:00 | 16 | Ok | 16 | Ok
8/23/18 16:00 | 12 | Ok | 12 | Ok
8/23/18 17:00 | 13 | Ok | 13 | Ok
8/23/18 18:00 | 22 | Ok | 22 | Ok
8/23/18 19:00 | 34 | Ok | 34 | Ok
8/23/18 20:00 | 27 | Ok | 27 | Ok
8/23/18 21:00 | 27 | Ok | 27 | Ok
8/23/18 22:00 | 16 | Ok | 16 | Ok
8/23/18 23:00 | 16 | Ok | 16 | Ok
8/24/18 00:00 | 26 | Ok | 26 | Ok
8/24/18 01:00 | 23 | Ok | 23 | Ok
8/24/18 02:00 | 2 | Ok | 2 | Ok
8/24/18 03:00 | 17 | Ok | 17 | Ok
8/24/18 04:00 | 22 | Ok | 22 | Ok
8/24/18 05:00 | 17 | Ok | 17 | Ok
8/24/18 06:00 | 20 | Ok | 20 | Ok
8/24/18 07:00 | 16 | Ok | 16 | Ok
8/24/18 08:00 | -5 | Ok | -5 | Ok
8/24/18 09:00 | -5 | Ok | -5 | Ok
8/24/18 10:00 | 2 | Ok | 2 | Ok
8/24/18 11:00 | 2 | Ok | 2 | Ok
8/24/18 12:00 | 7 | Ok | 7 | Ok
8/24/18 13:00 | 0 | Ok | 0 | Ok
8/24/18 14:00 | 19 | Ok | 19 | Ok
8/24/18 15:00 | 12 | Ok | 12 | Ok
8/24/18 16:00 | 8 | Ok | 8 | Ok
8/24/18 17:00 | 5 | Ok | 5 | Ok
8/24/18 18:00 | 14 | Ok | 14 | Ok
8/24/18 19:00 | 28 | Ok | 28 | Ok
8/24/18 20:00 | 18 | Ok | 18 | Ok
8/24/18 21:00 | 20 | Ok | 20 | Ok
8/24/18 22:00 | 22 | Ok | 22 | Ok
8/24/18 23:00 | 18 | Ok | 18 | Ok
8/25/18 00:00 | -4 | Ok | -4 | Ok
8/25/18 01:00 | 15 | Ok | 15 | Ok
8/25/18 02:00 | 19 | Ok | 19 | Ok
8/25/18 03:00 | 3 | Ok | 3 | Ok
8/25/18 04:00 | 14 | Ok | 14 | Ok
8/25/18 05:00 | 3 | Ok | 3 | Ok
8/25/18 06:00 | 6 | Ok | 6 | Ok
8/25/18 07:00 | 19 | Ok | 19 | Ok
8/25/18 08:00 | 9 | Ok | 9 | Ok
8/25/18 09:00 | -5 | Ok | -5 | Ok
8/25/18 10:00 | -5 | Ok | -5 | Ok
8/25/18 11:00 | 8 | Ok | 8 | Ok
8/25/18 12:00 | 5 | Ok | 5 | Ok
8/25/18 13:00 | 2 | Ok | 2 | Ok
8/25/18 14:00 | 6 | Ok | 6 | Ok
8/25/18 15:00 | 6 | Ok | 6 | Ok
8/25/18 16:00 | 13 | Ok | 13 | Ok
8/25/18 17:00 | 13 | Ok | 13 | Ok
8/25/18 18:00 | 11 | Ok | 11 | Ok
8/25/18 19:00 | 25 | Ok | 25 | Ok
8/25/18 20:00 | 19 | Ok | 19 | Ok
8/25/18 21:00 | 16 | Ok | 16 | Ok
8/25/18 22:00 | 35 | Ok | 35 | Ok
8/25/18 23:00 | 24 | Ok | 24 | Ok
8/26/18 00:00 | 28 | Ok | 28 | Ok
8/26/18 01:00 | 21 | Ok | 21 | Ok
8/26/18 02:00 | 19 | Ok | 19 | Ok
8/26/18 03:00 | 23 | Ok | 23 | Ok
8/26/18 04:00 | 14 | Ok | 14 | Ok
8/26/18 05:00 | 15 | Ok | 15 | Ok
8/26/18 06:00 | 16 | Ok | 16 | Ok
8/26/18 07:00 | 16 | Ok | 16 | Ok
8/26/18 08:00 | -5 | Ok | -5 | Ok
8/26/18 09:00 | -5 | Ok | -5 | Ok
8/26/18 10:00 | -4 | Ok | -4 | Ok
8/26/18 11:00 | -2 | Ok | -2 | Ok
8/26/18 12:00 | 10 | Ok | 10 | Ok
8/26/18 13:00 | 1 | Ok | 1 | Ok
8/26/18 14:00 | 10 | Ok | 10 | Ok
8/26/18 15:00 | 7 | Ok | 7 | Ok
8/26/18 16:00 | 8 | Ok | 8 | Ok
8/26/18 17:00 | 10 | Ok | 10 | Ok
8/26/18 18:00 | 16 | Ok | 16 | Ok
8/26/18 19:00 | 32 | Ok | 32 | Ok
8/26/18 20:00 | 35 | Ok | 35 | Ok
8/26/18 21:00 | 35 | Ok | 35 | Ok
8/26/18 22:00 | 26 | Ok | 26 | Ok
8/26/18 23:00 | 21 | Ok | 21 | Ok
8/27/18 00:00 | 23 | Ok | 23 | Ok
8/27/18 01:00 | 13 | Ok | 13 | Ok
8/27/18 02:00 | 27 | Ok | 27 | Ok
8/27/18 03:00 | 1 | Ok | 1 | Ok
8/27/18 04:00 | 22 | Ok | 22 | Ok
8/27/18 05:00 | 20 | Ok | 20 | Ok
8/27/18 06:00 | 0 | Ok | 0 | Ok
8/27/18 07:00 | -5 | Ok | -5 | Ok
8/27/18 08:00 | 35 | Ok | 35 | Ok
8/27/18 09:00 | -5 | Ok | -5 | Ok
8/27/18 10:00 | -5 | Ok | -5 | Ok
8/27/18 11:00 | 9 | Ok | 9 | Ok
8/27/18 12:00 | 17 | Ok | 17 | Ok
8/27/18 13:00 | 4 | Ok | 4 | Ok
8/27/18 14:00 | 6 | Ok | 6 | Ok
8/27/18 15:00 | 17 | Ok | 17 | Ok
8/27/18 16:00 | 11 | Ok | 11 | Ok
8/27/18 17:00 | 15 | Ok | 15 | Ok
8/27/18 18:00 | 21 | Ok | 21 | Ok
8/27/18 19:00 | 29 | Ok | 29 | Ok
8/27/18 20:00 | 25 | Ok | 25 | Ok
8/27/18 21:00 | 32 | Ok | 32 | Ok
8/27/18 22:00 | 32 | Ok | 32 | Ok
8/27/18 23:00 | 21 | Ok | 21 | Ok
8/28/18 00:00 | -5 | Ok | -5 | Ok
8/28/18 01:00 | 18 | Ok | 18 | Ok
8/28/18 02:00 | 1 | Ok | 1 | Ok
8/28/18 03:00 | 16 | Ok | 16 | Ok
8/28/18 04:00 | -5 | Ok | -5 | Ok
8/28/18 05:00 | 18 | Ok | 18 | Ok
8/28/18 06:00 | 15 | Ok | 15 | Ok
8/28/18 07:00 | 16 | Ok | 16 | Ok
8/28/18 08:00 | -3 | Ok | -3 | Ok
8/28/18 09:00 | -5 | Ok | -5 | Ok
8/28/18 10:00 | -5 | Ok | -5 | Ok
8/28/18 11:00 | -4 | Ok | -4 | Ok
8/28/18 12:00 | 7 | Ok | 7 | Ok
8/28/18 13:00 | 7 | Ok | 7 | Ok
8/28/18 14:00 | 4 | Ok | 4 | Ok
8/28/18 15:00 | 7 | Ok | 7 | Ok
8/28/18 16:00 | 1 | Ok | 1 | Ok
8/28/18 17:00 | 15 | Ok | 15 | Ok
8/28/18 18:00 | 7 | Ok | 7 | Ok
8/28/18 19:00 | 23 | Ok | 23 | Ok
8/28/18 20:00 | 24 | Ok | 24 | Ok
8/28/18 21:00 | 9 | Ok | 9 | Ok
8/28/18 22:00 | 9 | Ok | 9 | Ok
8/28/18 23:00 | 12 | Ok | 12 | Ok
8/29/18 00:00 | 8 | Ok | 8 | Ok
8/29/18 01:00 | 3 | Ok | 3 | Ok
8/29/18 02:00 | 5 | Ok | 5 | Ok
8/29/18 03:00 | 10 | Ok | 10 | Ok
8/29/18 04:00 | 3 | Ok | 3 | Ok
8/29/18 05:00 | 19 | Ok | 19 | Ok
8/29/18 06:00 | -5 | Ok | -5 | Ok
8/29/18 07:00 | 5 | Ok | 5 | Ok
8/29/18 08:00 | 19 | Ok | 19 | Ok
8/29/18 09:00 | 19 | Ok | 19 | Precision | pjchappin | 9/18/18 10:48 | PJC
8/29/18 10:00 | -5 | Ok | -5 | Maintain | pjchappin | 9/18/18 10:48 | PJC
8/29/18 11:00 | 4 | Ok | 4 | Ok
8/29/18 12:00 | 6 | Ok | 6 | Ok
8/29/18 13:00 | -1 | Ok | -1 | Ok
8/29/18 14:00 | 4 | Ok | 4 | Ok
8/29/18 15:00 | -2 | Ok | -2 | Ok
8/29/18 16:00 | 5 | Ok | 5 | Ok
8/29/18 17:00 | -1 | Ok | -1 | Ok
8/29/18 18:00 | 1 | Ok | 1 | Ok
8/29/18 19:00 | 20 | Ok | 20 | Ok
8/29/18 20:00 | 21 | Ok | 21 | Ok
8/29/18 21:00 | 10 | Ok | 10 | Ok
8/29/18 22:00 | 6 | Ok | 6 | Ok
8/29/18 23:00 | 12 | Ok | 12 | Ok
8/30/18 00:00 | 9 | Ok | 9 | Ok
8/30/18 01:00 | 12 | Ok | 12 | Ok
8/30/18 02:00 | 3 | Ok | 3 | Ok
8/30/18 03:00 | 6 | Ok | 6 | Ok
8/30/18 04:00 | -5 | Ok | -5 | Ok
8/30/18 05:00 | 9 | Ok | 9 | Ok
8/30/18 06:00 | 2 | Ok | 2 | Ok
8/30/18 07:00 | 5 | Ok | 5 | Ok
8/30/18 08:00 | 25 | Ok | 25 | Ok
8/30/18 09:00 | -5 | Ok | -5 | Ok
8/30/18 10:00 | 2 | Ok | 2 | Ok
8/30/18 11:00 | -4 | Ok | -4 | Ok
8/30/18 12:00 | 8 | Ok | 8 | Ok
8/30/18 13:00 | 4 | Ok | 4 | Ok
8/30/18 14:00 | 7 | Ok | 7 | Ok
8/30/18 15:00 | 11 | Ok | 11 | Ok
8/30/18 16:00 | 23 | Ok | 23 | Ok
8/30/18 17:00 | 8 | Ok | 8 | Ok
8/30/18 18:00 | 12 | Ok | 12 | Ok
8/30/18 19:00 | 33 | Ok | 33 | Ok
8/30/18 20:00 | 20 | Ok | 20 | Ok
8/30/18 21:00 | 6 | Ok | 6 | Ok
8/30/18 22:00 | 25 | Ok | 25 | Ok
8/30/18 23:00 | 29 | Ok | 29 | Ok
8/31/18 00:00 | 4 | Ok | 4 | Ok
8/31/18 01:00 | 28 | Ok | 28 | Ok
8/31/18 02:00 | 9 | Ok | 9 | Ok
8/31/18 03:00 | 10 | Ok | 10 | Ok
8/31/18 04:00 | -5 | Ok | -5 | Ok
8/31/18 05:00 | 12 | Ok | 12 | Ok
8/31/18 06:00 | 3 | Ok | 3 | Ok
8/31/18 07:00 | 20 | Ok | 20 | Ok
8/31/18 08:00 | 18 | Ok | 18 | Ok
8/31/18 09:00 | -5 | Ok | -5 | Ok
8/31/18 10:00 | 4 | Ok | 4 | Ok
8/31/18 11:00 | 5 | Ok | 5 | Ok
8/31/18 12:00 | 8 | Ok | 8 | Ok
8/31/18 13:00 | 0 | Ok | 0 | Ok
8/31/18 14:00 | 12 | Ok | 12 | Ok
8/31/18 15:00 | 17 | Ok | 17 | Ok
8/31/18 16:00 | 8 | Ok | 8 | Ok
8/31/18 17:00 | 14 | Ok | 14 | Ok
8/31/18 18:00 | 12 | Ok | 12 | Ok
8/31/18 19:00 | 21 | Ok | 21 | Ok
8/31/18 20:00 | 25 | Ok | 25 | Ok
8/31/18 21:00 | 20 | Ok | 20 | Ok
8/31/18 22:00 | 25 | Ok | 25 | Ok
8/31/18 23:00 | 11 | Ok | 11 | Ok
Minimum | -5 |  | -5
MinDate | 8/1/18 13:00 |  | 8/1/18 13:00
Maximum | 35 |  | 35
MaxDate | 8/25/18 22:00 |  | 8/25/18 22:00
Avg | 7.131 |  | 9.133
Num | 744 |  | 568
Data[%] | 100 |  | 76.3
STD | 8.4 |  | 8.5

## Sites Monthly 24 Hour Averages
MultiStation: Monthly: 08/2018 Type: AVG 1 Day
Date | Candor PM25 µg/m3 | Cowan PM25 µg/m3 | PM µg/m3 Range
8/1/18 00:00 | 3.9 | 3.454
8/2/18 00:00 | 4.7 | 4.208 | 0 - 11 µg/m3
8/3/18 00:00 | 2.2 | 2.25
8/4/18 00:00 | 3.6 | 4.416
8/5/18 00:00 | 5.5 | 6.541 | 12 - 34 µg/m3
8/6/18 00:00 | 4.5 | 8.916
8/7/18 00:00 | 9.6 | 9.791
8/8/18 00:00 | 5.2 | 8.454
8/9/18 00:00 | 5.2 | 8.208
8/10/18 00:00 | 9.3 | 12.916
8/11/18 00:00 | 5.1 | 10.333 | 35 - 59 µg/m3
8/12/18 00:00 | 6 | 7.875
8/13/18 00:00 | 5 | 4.916
8/14/18 00:00 | 9 | 9.75
8/15/18 00:00 | 12.4 | <Samp
8/16/18 00:00 | 13.3 | MalFunc
8/17/18 00:00 | 9.4 | MalFunc | 60 - 89 µg/m3
8/18/18 00:00 | 3 | MalFunc
8/19/18 00:00 | 5.7 | MalFunc
8/20/18 00:00 | 6.7 | MalFunc
8/21/18 00:00 | 5.5 | MalFunc
8/22/18 00:00 | 5 | <Samp
8/23/18 00:00 | 11.6 | 15.083
8/24/18 00:00 | 7.8 | 12.833
8/25/18 00:00 | 7.8 | 10.708
8/26/18 00:00 | 8.8 | 14.458
8/27/18 00:00 | 11.9 | 15.208
8/28/18 00:00 | 10 | 7.583
8/29/18 00:00 | 9.9 | 6.909
8/30/18 00:00 | 6.7 | 10.208
8/31/18 00:00 | 6.5 | 11.5
Minimum | 2.2 | 2.25
MinDate | 8/3/18 00:00 | 8/3/18 00:00
Maximum | 13.3 | 15.208
MaxDate | 8/16/18 00:00 | 8/27/18 00:00
Avg | 7.1 | 8.979
Num | 31 | 23
Data[%] | 100 | 74.1
STD | 2.8 | 3.6