ARTICLE X. - SOIL EROSION AND SEDIMENTATION CONTROL

Sec. 5-140. - Reserved.

Sec. 5-141. - Title.

Sec. 5-142. - Purposes.

Sec. 5-143. - Definitions.

Sec. 5-144. - Exclusions.

Sec. 5-145. - General requirements.

Sec. 5-146. - Basic control objectives.

Sec. 5-147. - Mandatory standards for land-disturbing activity.

Sec. 5-148. - Design and performance standards.

Sec. 5-149. - Stormwater outlet protection.

Sec. 5-150. - Borrow and waste areas.

Sec. 5-151. - Access and haul roads.

Sec. 5-152. - Operations in lakes or natural watercourses.

Sec. 5-153. - Responsibility for maintenance.

Sec. 5-154. - Additional measures.

Sec. 5-155. - Reserved.

Sec. 5-156. - Procedures related to soil erosion and sedimentation control plans.

Sec. 5-157. - Appeals.

Sec. 5-158. - Inspections and investigations.

Sec. 5-159. - Penalties.

Sec. 5-160. - Injunctive relief.

Sec. 5-161. - Restoration of areas affected by failure to comply.

Sec. 5-162. - Performance guarantee.

Sec. 5-163. - Severability

Sec. 5-140. - Reserved.

Editor's note—

Section 1 of an ordinance adopted Oct. 7, 1997, repealed former § 5-140, which pertained to incorporation of the soil erosion and sedimentation regulatory procedures by reference, and derived from Ch. 17.2 of the 1973 Code.

Sec. 5-141. - Title.

This article may be cited as the "Town of Apex Soil Erosion and Sedimentation Control Ordinance."

(Ord. of 7-16-96, § 1; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-142. - Purposes.

This article is adopted for the purposes of:

- Regulating certain land-disturbing activity within the corporate limits of the Town and within the extraterritorial jurisdiction (ETJ) of the Town to control accelerated erosion and sedimentation in order to prevent the pollution of water and other damage to lakes, watercourses, and other public and private property by sedimentation; and

- Establishing procedures through which these purposes can be fulfilled.

(Ord. of 7-16-96, § 2; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-143. - Definitions.

As used in this article, unless the context clearly indicates otherwise, the following definitions apply:

Accelerated erosion means any increase over the rate of natural erosion as a result of land-disturbing activity.

Act means the North Carolina Sedimentation Pollution Control Act of 1973 and all rules and orders adopted pursuant to it.

Adequate erosion control measure, structure, or device means one which controls the soil material within the land area under responsible control of the Person conducting the land-disturbing activity.

Affiliate means a Person that directly or indirectly through one or more intermediaries, controls, is controlled by, or is under common control of another Person.

Being conducted means a land-disturbing activity has been initiated and not deemed complete by the Town.

Borrow means fill material which is required for on-site construction and is obtained from other locations.

Buffer zone means the strip of land adjacent to a lake or natural watercourse to remain undisturbed and in its natural state.

Calendar days means all days inclusive of Saturday and Sunday.  Federal and State Holidays are not Calendar days for the purpose of this Article.

Certificate of compliance means a certificate issued by the Town once all the measures shown on the approved soil erosion and sedimentation control plan are installed, inspected and approved.

Certificate of completion means a certificate issued by the Town when the project is completed and all the temporary measures shown on the approved soil erosion and sedimentation control plan have been removed, permanent measures have been installed, and all disturbed areas have been stabilized.

Commission means the North Carolina Sedimentation Control Commission.

Completion of construction or development means that no further land-disturbing activity is required on a phase of a project except that which is necessary for establishing a permanent ground cover.

Construction site waste management plan means the Town’s plan for containing, managing and disposing of building materials, other waste materials and general good housekeeping of the building site.  A copy of the plan is available on the Town website at the following link:  http://www.apexnc.org/269/Soil-Erosion-Sedimentation-Control.

Department means the North Carolina Department of Environmental  Quality.

Director means the director of the Division of Energy, Mineral and Land Resources of the Department of EnvironmentalQuality.

Discharge point or Point of Discharge means that point at which runoff leaves a tract of land or enters a lake or natural watercourse or public storm drainage system.

Energy dissipater means a structure or a shaped channel section with mechanical armoring placed at the outlet of pipes or conduits to receive and break down the energy from high velocity flow.

Erosion means the wearing away of land surface by the action of wind, water, gravity, or any combination thereof.

Ground cover means any natural vegetative growth or other material which renders the soil surface stable against accelerated erosion.

Lake or natural watercourse means any stream, river, brook, swamp, sound, bay, creek, run, branch, canal, waterway, estuary, and any reservoir, lake or pond, natural or impounded, in which sediment may be moved or carried in suspension, and which could be damaged by accumulation of sediment.

Land-disturbing activity means any use of the land within the corporate limits or extraterritorial jurisdiction of the Town by any Person in residential, industrial, educational, institutional, or commercial development, highway and road construction and maintenance that results in a change in the natural cover or topography and that may cause or contribute to sedimentation.

Letter of soil erosion and sedimentation control plan approval means a letter issued by the Town, only after a complete soil erosion and sedimentation control application package is submitted and reviewed, and the performance guarantee has been provided indicating approval of the proposed soil erosion and sedimentation control plan.

Local government means any county, incorporated village, town, or city, or any combination of counties, incorporated villages, towns, and cities, acting through a joint program pursuant to the provisions of the Act.

Natural erosion means the wearing away of the earth's surface by water, wind, or other natural agents under natural environmental conditions undisturbed by man.

Parent means an affiliate that directly, or indirectly through one or more intermediaries, controls another Person.

Person means any individual, partnership, firm, association, joint venture, public or private corporation, trust, estate, commission, board, public or private institution, utility, cooperative, interstate body, or other legal entity.

Person conducting land-disturbing activity means any Person who may be held responsible for a violation unless expressly provided otherwise by this article, the Act, or any order adopted pursuant to this article or the Act.

Person responsible for the violation as used in this article, and G.S. 113A-64, means:

- The developer or other Person who has or holds himself out as having financial or operational control over the land-disturbing activity; or

- The landowner or Person in possession or control of the land when he has directly or indirectly allowed the land-disturbing activity or has benefited from it or he has failed to comply with any provision of this article, the Act, or any order adopted pursuant to this article or the Act as imposes a duty upon that Person.

Phase of grading means one of two types of grading, rough or fine.

Soil erosion and sedimentation control plan or Plan means plan to control soil erosion and sedimentation and to protect associated riparian buffers.

Sediment means solid particulate matter, both mineral and organic, that has been or is being transported by water, air, gravity, or ice from its site of origin.

Sedimentation means the process by which sediment resulting from accelerated erosion has been or is being transported off the site of the land-disturbing activity or into a lake or natural watercourse.

Siltation means sediment resulting from accelerated erosion which is settleable or removable by properly designed, constructed, and maintained control measures; and which has been transported from its point of origin within the site of a land-disturbing activity; and which has been deposited, or is in suspension in water.

Storm drainage facilities means the system of inlets, conduits, channels, ditches and appurtenances which serve to collect and convey stormwater through and from a given drainage area.

Stormwater runoff means the direct runoff of water resulting from precipitation in any form.

Subsidiary means an affiliate that is directly or indirectly through one or more intermediaries, controlled by another Person.

Ten-year storm means the surface runoff resulting from a rainfall of an intensity expected to be equaled or exceeded, on the average, once in ten years, and of a 24-hour duration which will produce the maximum peak rate of run-off, for the watershed of interest under average antecedent wetness conditions.

The Town means the Town of Apex, North Carolina.

Tract means all contiguous land and bodies of water being disturbed or to be disturbed as a unit, regardless of ownership.

Twenty-five-year storm means the surface runoff resulting from a rainfall of an intensity expected to be equaled or exceeded, on the average, once in 25 years, and of a 24-hour duration which will produce the maximum peak rate of runoff, from the watershed of interest under average antecedent wetness conditions.

Uncovered means the removal of ground cover from, on, or above the soil surface.

Undertaken means the initiating of any activity, or phase of activity, which results or will result in a change in the ground cover or topography of a tract of land.

Velocity means the average velocity of flow through the cross section of the main channel at the peak flow of the storm of interest. The cross section of the main channel shall be that area defined by the geometry of the channel plus the area of flow below the flood height defined by vertical lines at the main channel banks. Overload flows are not to be included for the purpose of computing velocity of flow.

Waste means surplus materials resulting from on-site construction and disposed of at other locations.

(Ord. of 7-16-96, § 3; Ord. No. 05-0719-11, § 1, 7-19-05)

Cross reference— Definitions and rules of construction generally, § 1-3.

Sec. 5-144. - Exclusions.

This article shall not apply to the following land-disturbing activities:

- Activities, including the breeding and grazing of livestock, and production and activities relating or incidental to the production of crops, grains, fruits, vegetables, ornamental and flowering plants, dairy, and all other forms of agriculture undertaken on agricultural land for the production of plants and animals useful to man, including, but not limited to:

- Forages and sod crops, grains and feed crops, tobacco, cotton, and peanuts.

- Dairy animals and dairy products.

- Poultry and poultry products.

- Livestock, including beef cattle, llamas, sheep, swine, horses, ponies, mules, and goats.

- Bees and apiary products.

- Fur-producing animals.

- Mulch, ornamental plants and other horticultural products.  For purposes of this section “mulch” means substances composed primarily of plant remains or mixtures of such substances.

- Activities undertaken on forestland for the production and harvesting of timber and timber products and conducted in accordance with best management practices set out in Forest Practice Guidelines Related to Water Quality (Best Management Practices), as adopted by the North Carolina Department of Agriculture and Consumer Services. If land-disturbing activity undertaken on forestland for the production and harvesting of timber and timber products is not conducted in accordance with standards defined by the Forest Practice Guidelines Related to Water Quality, the provisions of this article shall apply to such activity and any related land-disturbing activity on the tract; and

- Activities for which a permit is required under the Mining Act of 1971, Article 7 of Chapter 74 of the N.C. General Statutes.

- Land-disturbing activity over which the state has exclusive regulatory jurisdiction as provided in G.S. 113A-56(a).

- For the duration of an emergency, activities essential to protect human life.

- Activities undertaken to restore the wetland functions of converted wetlands to provide compensatory mitigation to offset impacts permitted under Section 404 of the Clean Water Act.

- Activities undertaken pursuant to Natural Resources Conservation Service standards to restore the wetland functions of converted wetlands as defined in Title 7 Code of Federal Regulations § 12.2.

- Plan approval requirement for land-disturbing activity.  No person shall undertake any land-disturbing activity subject to this ordinance without first obtaining a plan approval from the Town.

- Protection of property.  Persons conducting land-disturbing activity shall take all reasonable measures to protect all public and private property from damage caused by such activities

- More restrictive rules shall apply.  Whenever conflicts exist between federal, state or local laws, ordinance or rules, the more restrictive provision shall apply.

- Plan approval exceptions.  Notwithstanding the general requirements to obtain a plan approval prior to undertaking land-disturbing activity, a plan approval shall not be required for land-disturbing activity that does not exceed 20,000 square feet in surface area.  In determining the area, lands under one or diverse ownership being developed as a unit will be aggregated.

To qualify for exemption under this section, a request for exemption shall be submitted to the Town (no exemption is to be assumed until approval of the request by the Town). Where land disturbing activities are undertaken for the purpose of establishing a farm, constructing farm roads, paths, or ponds, the owner of the property shall file an application for exemption to the Town's Stormwater Engineering Manager. The Stormwater Engineering Managershall review the application and grant or deny the exemption within 15 calendar days of receipt. The land owner shall receive notification of this decision in writing and have ten calendar days to respond if the exemption is denied. The Director of Water Resources shall have five days to review and decide on the appeal.  Failure to meet the conditions of the exemption shall constitute a violation of this article and shall be retroactive to the approved date of the original exemption.

(Ord. of 7-16-96, § 4; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-145. - General requirements.

- Soil erosion and sedimentation control plan, letter of soil erosion and sedimentation control plan approval, certificate of compliance and State Certificate of Coverage (COC) for the NPDES General Permit NCG010000 (NCG01)required. No person shall initiate any land-disturbing activity which uncovers more than 20,000 square feet without having a soil erosion and sedimentation control plan approved by the Town as evidenced by receipt of a letter of soil erosion and sedimentation control plan approval. Applicants shall receive a certificate of compliance only after the performance guarantee has been provided and all required tree protection fencing and perimeter silt fencing is installed, inspected, and approved by the zoning compliance officer.  The applicant must obtain the COC issued by the State to satisfy the requirements of the NCG01 permit.  Information can be found at the NCDEQ DEMLR Stormwater Program website: https://deq.nc.gov/about/divisions/energy-mineral-and-land-resources/stormwater/stormwater-program/npdes-construction-program . Before installing any approved erosion and sedimentation control measures the applicant must have received the letter of soil erosion and sedimentation control plan approval. No land disturbing activity, other than the installation of the erosion and sedimentation control measures, shall be started until the Town issues a certificate of compliance to the applicant. A certificate of compliance will be signed once all the measures shown on the approved soil erosion and sedimentation control plan are installed, inspected and approved. Sites must follow the approved soil erosion and sedimentation control plan which includes the construction sequence. Grading and development of sites, including single-family residential lots, not exceeding 20,000 square feet shall meet the requirements of subsection (b) of this section.

- Grading and development of sites including single-family residential lots not exceeding 20,000 square feet in surface area shall implement and maintain control measures to restrain erosion and prevent off-site sediment migration. No person shall initiate any land disturbing activity under 20,000 square feet without submitting an erosion and sedimentation control installation and maintenance agreement for residential lots to the Building Inspections & Permitting Department. Minimum required measures will include: silt fencing (steel posts, woven wire, and silt fence geotextile fabric), construction entrances, and downstream rock check dams in ditch lines. Disturbed areas shall not be left exposed for more than 14 calendar days after the completion of any phase of grading. No footing inspection by the building inspection division shall be approved without proper installation of the required sedimentation and erosion control measures.

- Protection of property. Persons conducting land-disturbing activity shall take all reasonable measures to protect all public and private property from damage caused by such activity.

- More restrictive rules shall apply. Whenever conflicts exist between federal, state, or local laws, ordinance or rules, the more restrictive provision shall apply.

- Applicants shall post a performance guarantee as provided by section 5-162 of the Apex Town Code.

- Construction Site Waste Management Plan.  The development of all sites requiring a soil erosion and sedimentation control plan must adhere to the requirements as stated in the Construction Site Waste Management Plan.

- Plan approval exceptions.  Notwithstanding the general requirements to obtain a plan approval prior to undertaking land-disturbing activity, a plan approval shall not be required for land-disturbing activity that does not exceed 20,000 square feet in surface area.  In determining the area, lands under one or diverse ownership being developed as a unit will be aggregated.

(Ord. of 7-16-96, § 5; Ord. No. 05-0719-11, § 1, 7-19-05; Ord. No. 09-0804-07, § 1, 8-4-09)

Sec. 5-146. - Basic control objectives.

A soil erosion and sedimentation control plan may be disapproved pursuant to section 5-157 of this article if the plan fails to address the following control objectives:

- Identify critical areas. On-site areas which are subject to severe erosion, and off-site areas which are especially vulnerable to damage from erosion and/or sedimentation, are to be identified and receive special attention.

- Limit time of exposure. All land-disturbing activity is to be planned and conducted to limit exposure to the shortest feasible time.  In any event, areas left exposed will, within  14 calendar days of completion of any phase of grading,  be planted or otherwise provided with ground cover, devices, or structures sufficient to restrain erosion.

- Limit exposed areas. All land-disturbing activity is to be planned and conducted to minimize the size of the area to be exposed at any one time.

- Control surface water. Surface water runoff originating upgrade of exposed areas should be controlled to reduce erosion and sediment loss during the period of exposure.

- Control sedimentation. All land-disturbing activity is to be planned and conducted so as to prevent off-site sedimentation damage.

- Manage stormwater runoff. When the increase in the velocity of stormwater runoff resulting from a land-disturbing activity is sufficient to cause accelerated erosion of the receiving watercourse, plans are to include measures to control the velocity to the point of discharge so as to minimize accelerated erosion of the site and increased sedimentation of the stream. Measures are to be implemented to ensure that post-development stream velocities of the receiving watercourses do not exceed the pre-development velocities as defined in section 5-149 of this article.

(Ord. of 7-16-96, § 6; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-147. - Mandatory standards for land-disturbing activity.

No land-disturbing activity subject to the control of this article shall be undertaken except in accordance with the following mandatory standards:

- Buffer zone.

- No land-disturbing activity during periods of construction or improvement to land shall be permitted in proximity to a lake or natural watercourse unless a buffer zone is provided along the margin of the watercourse of sufficient width to confine visible siltation within the 25 percent of the buffer zone nearest the land-disturbing activity. This subdivision shall not apply to a land-disturbing activity in connection with the construction of facilities to be located on, over, or under a lake or natural watercourse. Refer to section 6.1, watershed protection overlay districts, of the Town's UDO for riparian buffers.

- Unless otherwise provided, the width of a buffer zone is measured horizontally from the top of the bank (nearest the land-disturbing activity) of the stream or waterbody to the nearest edge of the disturbed area. The 25 percent of the strip nearest the land-disturbing activity must contain natural or artificial means of confining visible siltation.

- Graded slopes and fills. The angle for graded slopes and fills shall be no greater than the angle which can be retained by vegetative cover or other adequate erosion control devices or structures. In any event, slopes left exposed will, within 14 calendar days of completion of any phase of grading, be planted or otherwise provided with groundcover, devices, or structures sufficient to restrain erosion. The angle for graded slopes and fills must be demonstrated to be stable.  Stable is the condition where the soil remains in its original configuration, with or without mechanical constraints.

- Groundcover. Whenever land-disturbing activity is undertaken on a tract compromising more than 20,000 square feet, if more than 20,000 square feet is uncovered, the Person conducting the land-disturbing activity shall install such sedimentation and erosion control devices and practices as are sufficient to retain the sediment generated by the land-disturbing activity within the boundaries of the tract during construction upon and development of said tract, and shall plant or otherwise provide a permanent ground cover sufficient to restrain erosion after completion of construction or development. All seeding and mulch activities shall be stabilized with a tackifier, netting or other suitable material that secures the mulch. Provisions for a ground cover sufficient to restrain erosion must be accomplished within14 calendar days following completion of construction.

- Prior plan approval. No Person shall initiate any land-disturbing activity on a tract if more than 20,000 square feet is to be uncovered unless , a soil erosion and sedimentation control plan for such activity is filed with and approved by the Town as outlined in section 5-145.

- Fill material. Unless a permit from the Department’s  Division of Waste Management to operate a landfill is on file for the official site, acceptable fill material shall be free of organic or other degradable materials, masonry, concrete and brick in sizes exceeding 12 inches, and any materials which would cause the site to be regulated as a landfill by the state.

- The land-disturbing activity shall be conducted in accordance with the approved soil erosion and sedimentation control plan.

(Ord. of 7-16-96, § 7; Ord. No. 05-0719-11, § 1, 7-19-05; Ord. No. 07-0821-12, § 2, 8-21-07)

Sec. 5-148. - Design and performance standards.

Soil erosion and sedimentation control measures, structures, and devices shall be so planned, designed, and constructed as to provide protection from the calculated maximum peak rate of runoff from the 25-year, 24 hour storm, and in accordance with Section 400, Soil Erosion & Sedimentation Control, of the Town’s Standard Specifications & Details, as amended. Runoff rates shall be calculated using the procedures in the United States Department of Agriculture (USDA) Natural Resources Conservation Service's "National Engineering Field Manual for Conservation Practices," or other acceptable calculation procedures.

(Ord. of 7-16-96, § 8; Ord. No. 05-0719-11, § 1, 7-19-05; Ord. No. 07-0821-12, § 3, 8-21-07)

Sec. 5-149. - Stormwater outlet protection.

- Intent. Stream banks and channels downstream from any land disturbing activity shall be protected from increased degradation by accelerated erosion caused by increased velocity of runoff from the land disturbing activity.

- Performance standards. Persons shall conduct land-disturbing activity so that the post construction velocity of the ten-year storm runoff in the receiving watercourse to the discharge point does not exceed the greater of:

- The velocity established by the table in subsection (e) of this section; or

- The velocity of the ten-year storm runoff in the receiving watercourse prior to development.

If conditions (1) or (2) of this subsection cannot be met, then the receiving watercourse to and including the discharge point shall be designed and constructed to withstand the expected velocity anywhere the velocity exceeds the prior to development velocity by ten percent.

- Acceptable management measures. Measures applied along or in combination to satisfy the intent of this section are acceptable if there are no objectionable secondary consequences. The Town recognizes that the management of stormwater runoff to minimize or control downstream channel and bank erosion is a developing technology. Innovative techniques and ideas will be considered and may be used when shown to have the potential to produce successful results. Some alternatives are to:

- Avoid increases in surface runoff volume and velocity by including measures to promote infiltration to compensate for increased runoff from areas rendered impervious.

- Avoid increases in stormwater discharge velocities by using vegetated or roughened swales and waterways in lieu of closed drains and high velocity paved sections.

- Provide energy dissipaters at outlets of storm drainage facilities to reduce flow velocities to the point of discharge. These may range from simple rip-rapped sections to complex structures.

- Protect watercourses subject to accelerated erosion by improving cross sections and/or providing erosion-resistant lining.

- Upgrade or replace the receiving device structure or watercourse such that it will receive and conduct the flow to a point where it is no longer subject to degradation from the increased rate of flow or increased velocity.

- Exceptions. This rule shall not apply where it can be demonstrated that stormwater discharge velocities will not create an erosion problem in the receiving watercourse.

- Maximum permissible velocities. The following is a table for maximum permissible velocity for stormwater discharges in feet per second (F.P.S.) and meters per second (M.P.S.):

| Material | F.P.S. | M.P.S. |
| --- | --- | --- |
| Fine sand (noncolloidal) | 2.5 | 0.8 |
| Sandy loan (noncolloidal) | 2.5 | 0.8 |
| Silt loan (noncolloidal) | 3.0 | 0.9 |
| Ordinary firm loam | 3.5 | 1.1 |
| Fine gravel | 5.0 | 1.5 |
| Stiff clay (very colloidal) | 5.0 | 1.5 |
| Graded, loam to cobbles (noncolloidal) | 5.0 | 1.5 |
| Graced, silt to cobbles (colloidal) | 5.5 | 1.7 |
| Alluvial silts (noncolloidal) | 3.5 | 1.1 |
| Alluvial silts (colloidal) | 5.0 | 1.5 |
| Coarse gravel (noncolloidal) | 6.0 | 1.8 |
| Cobbles and shingles | 5.5 | 1.7 |
| Shales and hard pans | 6.0 | 1.8 |

Source—Adapted from recommendations by Special Committee on Irrigation Research, American Society of Civil Engineers, 1926, for channels with straight alignment. For sinuous channels, multiply allowable velocity by 0.95 for slightly sinuous, by 0.9 for moderately sinuous channels, and by 0.8 for highly sinuous channels.

(Ord. of 7-16-96, § 9; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-150. - Borrow and waste areas.

When the Person conducting the land-disturbing activity is also the person conducting the borrow or waste disposal activity, areas from which borrow is obtained and which are not regulated by the provisions of the Mining Act of 1971, G.S. 74, Article 7, and waste areas for surplus materials other than landfills regulated by the Department's Division of Waste Management shall be considered as part of the land-disturbing activity where the borrow material is being used or from which the waste material originated. When the Person conducting the land-disturbing activity is not the Person obtaining the borrow and/or disposing of the waste, these areas shall be considered a separate land-disturbing activity.

(Ord. of 7-16-96, § 10; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-151. - Access and haul roads.

Temporary access and haul roads, other than public roads, constructed or used in connection with any land-disturbing activity shall be considered a part of such activity.

(Ord. of 7-16-96, § 11; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-152. - Operations in lakes or natural watercourses.

Land-disturbing activity in connection with construction in, on, over, or under a lake or natural watercourse shall be planned and conducted in such a manner as to minimize the extent and duration of disturbance of the stream channel. The relocation of a stream, where relocation is an essential part of the proposed activity, shall be planned and executed so as to minimize changes in the stream flow characteristics, except when justification for significant alteration to flow characteristic is provided.

(Ord. of 7-16-96, § 12; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-153. - Responsibility for maintenance.

During the development of a site, the Person conducting the land-disturbing activity shall install and maintain all temporary and permanent erosion and sedimentation control measures as required by the approved soil erosion and sedimentation control plan or any provision of this article, the Act, or any order adopted pursuant to this article or the Act. After site development, the landowner or Person in possession or control of the land shall install and/or maintain all necessary permanent erosion and sediment control measures, except those measures installed within a road or street right-of-way or easement accepted for maintenance by a governmental agency.

(Ord. of 7-16-96, § 13; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-154. - Additional measures.

Whenever the Town determines that significant sedimentation is occurring as a result of land-disturbing activity, despite application and maintenance of protective practices, the Person conducting the land-disturbing activity will be required to and shall take additional protective action to achieve compliance with the conditions specified in the Act or its rules.

(Ord. of 7-16-96, § 14; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-155. - Reserved.

Editor's note—  An ordinance adopted _______________, 2022, repealed § 5-155 in its entirety.   Former § 5-155 pertained to existing uncovered areas and derived from an Ord. of 7-16-96, § 15; and Ord. No. 05-0719-11, § 1, 7-19-05.

Sec. 5-156. - Procedures related to soil erosion and sedimentation control plans.

- In determining the area to be disturbed, lands under one or diverse ownership being developed as a unit will be aggregated. If the combined total area of aggregated lots in any subdivision equals 20,000 square feet by one owner, a soil erosion and sedimentation control plan will be required even if the lots are not contiguous.

- A soil erosion and sedimentation control plan may be disapproved if implementation of the plan would result in a violation of rules adopted by the environmental management commission, other Town rules, or for failure to pay fees or fines owed to the Town.

- The Town will establish a soil erosion and sedimentation control plan review fee schedule and payment shall be required.

- All proposed soil erosion and sedimentation control plans shall be filed with the Town accompanied by appropriate fees and forms . The Town shall forward to the Director a copy of each soil erosion and sedimentation control plan for a land-disturbing activity that involves the utilization of ditches for the purpose of de-watering or lowering the water table of the tract, pursuant to G.S. 113A-57(4).

- All applicants shall keep a copy of the approved soil erosion and sedimentation control plan on file at the job site. After approving the plan, if the Town either upon review of such plan or on inspection of the job site, determines that a significant risk of accelerated erosion or off-site sedimentation exists, the Town will require a revised soil erosion and sedimentation control plan. Pending the preparation of the revised plan, work shall cease or shall continue under conditions outlined by the Town water resources director.

- Soil erosion and sedimentation control plans shall be disapproved unless accompanied by an authorized statement of financial responsibility and documentation of property ownership. This statement shall be signed by the Person financially responsible for the land-disturbing activity or his attorney in fact. The statement shall include the mailing, street, and electronic mail addresses of the principal place of business of: (1) the Person financially responsible; (2) the owner of the land; and (3) any registered agents. If the Person financially responsible is not a resident of North Carolina, a North Carolina agent must be designated in the statement for the purpose of receiving notice of compliance or noncompliance with the plan, the Act, this article, or rules or orders adopted or issued pursuant to this article as well as for service of civil summonses and complaints. If the applicant is not the owner of the land to be disturbed, the draft soil erosion and sedimentation control plan must include the owner's written consent for the applicant to submit a draft soil erosion and sedimentation control plan and to conduct the land-disturbing activity.

- If the applicant is not the owner of the land to be disturbed and the anticipated land-disturbing activity involves the construction of utility lines for the provision of water, sewer, gas, telecommunications, or electrical service, the draft erosion and sedimentation control plan may be submitted without the written consent of the owner of the land, so long as the owner of the land has been provided prior notice of the project.

- The Town will review each complete soil erosion and sedimentation control plan submitted to them as part of the construction plan review during the technical review committee (TRC) process and within 30 days of receipt thereof will notify the person submitting the plan of the status of the review and provide an itemized listing of the outstanding comments that it has been approved, approved with modifications, or disapproved. The approved construction drawings will serve as the approval until the letter of plan approval is issued. The letter of plan approval is issued only after the Financial Responsibility and Ownership form and the performance guarantee are provided. Failure to either approve, approve with modifications, or disapprove a completed soil erosion and sedimentation control plan within 30 days of receipt shall be deemed approval. Disapproval of a plan must specifically state in writing the reasons for disapproval. The town will review each complete revised plan submitted to it as part of the construction plan review during the technical review committee (TRC) process and within 15 days of receipt thereof will notify the person submitting the revised plan that it has been approved, approved with modifications, or disapproved, and will provide an itemized listing of the outstanding comments. Failure to either approve, approve with modifications, or disapprove a complete revised plan within 15 days of receipt shall be deemed approval. If, following commencement of a land-disturbing activity pursuant to an approved soil erosion and sedimentation control plan, the Town determines that the plan is inadequate to meet the requirements of this article, the Town may require any revision of the plan that is necessary to comply with this ordinance.  If land disturbing activities are not initiated within one year from the date of the letter of plan approval, plan approval shall expire and a new plan submittal is required. The approval of an soil erosion and sedimentation control plan is conditioned upon the applicant's compliance with federal and state water quality laws, regulations and rules pursuant to G.S. 113A-61(b)(1). Documentation of compliance with federal and state water quality laws, rules and regulations from the regulating agency shall be submitted at the request of the plan reviewer.

- Any soil erosion and sedimentation control plan submitted for a land-disturbing activity for which an environmental document is required by the North Carolina Environmental Policy Act (G.S. 113A-1, et seq.) shall be deemed incomplete until a complete environmental document is available for review.

- The soil erosion and sedimentation control plan required by this section shall contain architectural or engineering drawings, maps, assumptions, calculations, and narrative statements appropriately sealed by the responsible designer as needed to adequately describe the proposed development of the tract and the measures planned to comply with the requirements of this article. Soil erosion and sedimentation control plan content may vary to meet the needs of specific site requirements. Detailed mandatory guidelines for plan preparation shall be drafted by the Water Resources Department of the Town and may be obtained from the Town on request.

- The Town may disapprove a plan or disapprove a transfer of a plan if implementation of the plan would result in a violation of the rules adopted by the environmental management commission to protect riparian buffers along surface waters. The Town may disapprove or revoke a soil erosion and sedimentation control plan upon a finding that an applicant, or a parent, subsidiary, or other affiliate of the applicant:

- Is conducting or has conducted land-disturbing activity without an approved soil erosion and sedimentation control plan, or has received notice of violation of a plan previously approved by the commission or a local government pursuant to the Act and has not complied with the notice within the time specified in the notice;

- Has failed to pay a civil penalty assessed pursuant to the Act or a local ordinance adopted pursuant to the Act by the time the payment is due;

- Has been convicted of a misdemeanor pursuant to G.S. 113A-64(b) or any criminal provision of a local ordinance adopted pursuant to the Act;

- Has failed to pay appropriate fees required by the Town; or

- Has failed to substantially comply with state rules or local ordinances and regulations adopted pursuant to the Act.

For purposes of this subsection an applicant's record may be considered for only the two years prior to the application date.

In the event that a plan or a transfer of a plan is disapproved pursuant to this subsection, the Town shall notify the Director of such disapproval within ten days of the disapproval. The Town shall advise the applicant and the Director in writing as to the specific reasons that the plan was disapproved.

- Applications for amendment of a soil erosion and sedimentation control plan in written and/or graphic form may be made at any time under the same conditions as the original application. Until such time as said amendment is approved by the Town the land-disturbing activity shall not proceed except in accordance with the soil erosion and sedimentation control plan as originally approved.

- No Person may initiate a land-disturbing activity in accordance with an approved plan before notifying the Town of the date that the land-disturbing will begin.

- When deemed necessary by the Town, a preconstruction conference may be required and noted on the approved plan

- Any Person engaged in land-disturbing activity who fails to file a soil erosion and sedimentation control plan in accordance with this article, or who conducts a land-disturbing activity except in accordance with provisions of an approved soil erosion and sedimentation control plan shall be deemed in violation of this article.

- The Town shall adopt and periodically update a fee schedule to cover the costs of administering the sediment and erosion control program.

- The Town may transfer a plan approved pursuant to this section without the consent of the plan holder to a successor-owner of the property on which the permitted activity is occurring as provided in this subsection.

  - The Town may transfer a plan if all of the following conditions are met:

    - The successor-owner of the property submits to the local government a written request for the transfer of the plan and an authorized statement of financial responsibility and documentation of property ownership.

    - The Town finds all of the following:

      - The plan holder is one of the following:

        - A natural person who is deceased.

        - A partnership, limited liability corporation, corporation, or any other business association that has been dissolved.

        - A Person who has been lawfully and finally divested of title to the property on which the permitted activity is occurring or will occur.

        - A Person who has sold the property on which the permitted activity is occurring or will occur.

      - The successor-owner holds title to the property on which the permitted activity is occurring or will occur.

      - The successor-owner is the sole claimant of the right to engage in the permitted activity.

      - There will be no substantial change in the permitted activity.

  - The plan holder shall comply with all terms and conditions of the plan until such time as the plan is transferred.

  - The successor-owner shall comply with all terms and conditions of the plan once the plan has been transferred.

  - Notwithstanding changes to law made after the original issuance of the plan, the Town may not impose new or different terms and conditions in the plan without the prior express consent of the successor-owner. Nothing in this subsection shall prevent the Town from requiring a revised plan pursuant to G.S. 113A-54.1(b).

- The landowner, the financially responsible party, or the landowner's or the financially responsible party's agent shall perform a self-inspection of the area covered by the plan after each phase of the plan has been completed and after establishment of temporary ground cover in accordance with G.S. 113A-57(2).  In addition, weekly and rain-event self-inspections are required by federal regulations, that are implemented through the NPDES Construction General Permit No. NCG 010000. The Person who performs the inspection shall maintain and make available a record of the inspection at the site of the land-disturbing activity. The record shall set out any significant deviation from the approved erosion control plan, identify any measures that may be required to correct the deviation, and document the completion of those measures. The record shall be maintained until permanent ground cover has been established as required by the approved erosion and sedimentation control plan. The inspections required by this subsection shall be in addition to inspections required by G.S. 113A-61.1. Except as may be required under federal law, rule or regulation, no periodic self-inspections or rain gauge installation is required on individual residential lots where less than one acre is being disturbed on each lot. Where inspections are required by this section or G.S. 113A-54.1(e), the following apply:

  - The inspection shall be performed during or after each of the following phases of the plan;

    - initial installation of erosion and sediment control measures;

    - clearing and grubbing of existing ground cover;

    - completion of any grading that requires ground cover;

    - completion of all land-disturbing activity, construction, or development, including permanent ground cover establishment and removal of all temporary measures; and

    - transfer of ownership or control of the tract of land where the plan has been approved and work has begun. The new owner or Person in control shall conduct and document inspections until the project is permanently stabilized as set forth in Sub-Item c. of this Item.

  - Documentation of self-inspections performed under Item (1) of this section shall include:

    - Visual verification of ground stabilization and other erosion control measures and practices as called for in the approved plan;

    - Verification by measurement of settling basins, temporary construction entrances, energy dissipators, and traps.

    - The name, address, organization affiliation, telephone number, and signature of the person conducting the inspection and the date of the inspection shall be included, whether on a copy of the approved erosion and sedimentation control plan or an inspection report. A template for an example of an inspection and monitoring report is provided on the DEMLR website at: https://deq.nc.gov/about/divisions/energy-mineral-land-resources/erosion-sediment-control/forms. Any relevant licenses and certifications may also be included. Any documentation of inspections that occur on a copy of the approved erosion and sedimentation control plan shall occur on a single copy of the plan and that plan shall be made available on the site.

    - A record of any significant deviation from any erosion or sedimentation control measure from that on the approved plan. For the purpose of this Rule, a "significant deviation" means an omission, alternation, or relocation of an erosion or sedimentation control measure that prevents it from performing as intended. The record shall include measures required to correct the significant deviation, along with documentation of when those measures were taken. Deviations from the approved plan may also be recommended to enhance the intended performance of the sedimentation and erosion control measures.

(Ord. of 7-16-96, § 16; Ord. No. 05-0719-11, § 1, 7-19-05; Ord. No. 07-0821-12, §§ 4—6, 8-21-07)

Sec. 5-157. - Appeals.

- Except as provided in subsection (b) of this section, the appeal of a disapproval or approval with modificationsof a soil erosion and sedimentation control plan shall be governed by the following provisions:

- The disapproval or modification of any proposed soil erosion and sedimentation control plan by the Town shall entitle the Person submitting the plan to a public hearing if such Person submits written demand for a hearing to the Town clerk within 15 days after receipt of written notice of the disapproval or modification.

- Hearings held pursuant to this section shall be conducted by the Board of Adjustment within a reasonable time after the date of the Town's receipt of the appeal or request for a hearing.

- The Board of Adjustment will render its final decision on any soil erosion and sedimentation control plan upon which a hearing is requested within 20 days of the close of the hearings record.

- If the Town upholds the disapproval or modification of a proposed soil erosion and sedimentation control plan following the hearing, the Person submitting the plan shall then be entitled to appeal the local government's decision to the Commission as provided in G.S. 113A-61(c) and title 15A NCAC 4B.0018(d).

- In the event that a soil erosion and sedimentation control plan is disapproved pursuant to section 5-156(k) of this article, the Town shall notify the Director of such disapproval within ten days. The Town shall advise the applicant and the Director in writing as to the specific reasons that the plan was disapproved. The applicant may appeal the Town disapproval of the soil erosion and sedimentation control plan pursuant to section 5-156 of this article directly to the Commission.

(Ord. of 7-16-96, § 17; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-158. - Inspections and investigations.

- Agents, officials, or other qualified persons authorized by the Town will periodically inspect land-disturbing activities to ensure compliance with the Act, this article, or rules or orders adopted or issued pursuant to this article, and to determine whether the measures required in the soil erosion and sedimentation control plan are effecting in controlling erosion and sediment resulting from land-disturbing activity. Notice of the right to inspect shall be included in the letter of soil erosion and sedimentation control plan approval of each soil erosion and sedimentation control plan.

- No person shall willfully resist, delay, or obstruct an authorized representative, employee, or agent of the Town while that person is inspecting or attempting to inspect a land-disturbing activity under this section.

- If, it is determined that a Person engaged in land-disturbing activity has failed to comply with the Act, this article, or rules, or orders adopted or issued pursuant to this article, a notice of violation shall be served upon that Person. The notice may be served by any means authorized under G.S. 1A-1, Rule 4.

The notice shall specify a date by which the Person must comply with the Act, or this article, or rules, or orders adopted pursuant to this article, and inform the Person of the actions that need to be taken to comply with the Act, this article, or rules or orders adopted pursuant to this article. However, no time period for compliance need be given for failure to submit a soil erosion and sedimentation control plan for approval or for obstructing, hampering or interfering with an authorized representative while in the process of carrying out his official duties. Any Person who fails to comply within the time specified is subject to the civil and criminal penalties provided in G.S. 113A-64 and this article.

- The Town shall have the power to conduct such investigation as it may reasonably deem necessary to carry out its duties as prescribed in this article, and for this purpose to enter at reasonable times upon any property, public or private, for the purpose of investigating and inspecting the sites of any land-disturbing activity.

- The Town shall also have the power to require written statements, or the filing of reports under oath, with respect to pertinent questions relating to land-disturbing activity.

- The landowner, the financially responsible party, or the landowner's or the financially responsible party's agent shall perform an inspection of the area covered by the plan after each phase of the plan has been completed and after establishment of temporary ground cover in accordance with G.S. 113A-57(2). The person who performs the inspection shall maintain and make available a record of the inspection at the site of the land-disturbing activity. The record shall set out any significant deviation from the approved erosion control plan, identify any measures that may be required to correct the deviation, and document the completion of those measures. The record shall be maintained until permanent ground cover has been established as required by the approved erosion and sedimentation control plan. The inspections required by this subsection shall be in addition to inspections required by G.S. 113A-61.1.

- The Stormwater Engineering Manager may issue a stop work order to any person in violation of this article.

(Ord. of 7-16-96, § 18; Ord. No. 05-0719-11, § 1, 7-19-05; Ord. No. 07-0821-12, § 7, 8-21-07)

Sec. 5-159. - Penalties.

- Civil penalties.

- Any Person who violates any of the provisions of this article, or rules or orders adopted or issued pursuant to this article, or who initiates or continues a land-disturbing activity for which a soil erosion and sedimentation control plan is required except in accordance with the terms, conditions, and provisions of an approved plan, is subject to a civil penalty. The maximum civil penalty for a violation is $5,000.00. Civil penalties may be assessed from the date of the violation. However, no penalty shall be assessed until the Person alleged to be in violation has been notified of the violation as provided in subsection 5-158(c) of this article. If, after the allotted time period has expired, the violator has not completed corrective action a civil penalty may be assessed. Nevertheless, no time period for compliance need be given for failure to submit a soil erosion and sedimentation control plan for approval, proceeding with the work before the letter of plan approval is signed by the Town, or for obstructing, hampering or interfering with an authorized representative while in the process of carrying out his official duties. Proceeding with work before the letter of soil erosion and sedimentation control plan approval is signed shall constitute grading without a permit. Each day of continuing violation shall constitute a separate violation. When the Person has not been assessed any civil penalty under this subsection for any previous violation, and that Person abated continuing environmental damage resulting from the violation within 180 days from the date of the notice of violation, the maximum cumulative total civil penalty assessed under this subsection for all violations associated with the land-disturbing activity for which the erosion and sedimentation control plan is required is twenty-five thousand dollars ($25,000).

In addition to the civil penalty schedule listed below, the water resources director may assess a one-time civil penalty of $5,000.00 on the day of the violation for off-site sedimentation damage especially in the case of damage to a body of water, wetlands or buffer. Moreover, any malicious or intentional destruction of silt fencing or other sedimentation and erosion control device will result in a one-time fine of up to $1,000.00.

Civil penalties for specific violations may be assessed as follows:

- Grading without a soil erosion and sedimentation control plan or land-disturbing permit: $5,000.00 per day for failure to secure a valid, required land disturbing permit (certificate of compliance) prior to conducting a land-disturbing activity.

- Grading beyond the limits of a grading permit: $1,000.00 per day per 1/10 of a graded acre beyond the limits of an existing grading permit without the approval of an amended grading permit, but not to exceed $5,000.00 per day.

- Failure to protect: $5,000.00 per day for failure to take all reasonable measures to protect public property or private property, from damage caused by the failure to retain sediment on-site.

- Failure to follow soil erosion and sedimentation control plan: $3,000.00 per day for failure to conduct a land disturbing activity in accordance with the provisions of an approved erosion and sedimentation control plan.

- Failure to install devices: $5,000.00 per day for failure, when more than one acre is disturbed ($2,500.00 per day when 20,000 square feet or less than 20,000 square feet is disturbed), to install erosion and sedimentation control devices sufficient to retain the sediment generated by the land-disturbing activity within the boundaries of the tract(s) and prevent off-site sedimentation.

- Failure to maintain permanent and/or temporary measures: $2,500.00 per day for failure to maintain adequate erosion control measures.

- Failure to maintain properly slopes and fills: $2,500.00 per day for failure on graded slopes and fills to maintain an angle sufficient to retain vegetative cover or other adequate erosion control measures.

- Failure to protect exposed slopes: $2,500.00 per day for failure, within 14 calendar days of completion of any phase of grading, , to plant or otherwise provide exposed, graded slopes or fills with groundcover, devices, or structures sufficient to restrain erosion.

- Failure to provide adequate cover: $2,500.00 per day for failure, within 14 calendar days of competition of any phase of grading, , to plant or otherwise provide exposed, graded slopes or fills with groundcover, devices, or structures sufficient to restrain erosion.

- Failure to correct a violation after notice: $5,000.00 per day for failure to correct violation within the time limitations established in a notice of violation.

- Failure to revise plan: $2,500.00 per day for failure to file an acceptable revised erosion and sedimentation control plan within the established deadline after being notified of the need to do so.

- Any other action or failure to act that constitutes a violation of this article: $2,500.00 per day for any other action or failure to act that constitutes a violation of this article.

- Failure to keep dirt and mud off public streets: $1,000.00 per day for failure to prevent the accumulation of more than one-fourth-inch of dirt, mud, both on public streets, or in public storm drainage, plus $500.00 per hour per wash truck if the street is cleaned by the Town, its employees or its contractors.

- Failure to follow the Construction Site Waste Management Plan is subject to $1,000.00 per day for failing to follow all aspects of the Plan.

- An additional civil penalty of $1,000.00 per day shall be charged to any person assessed a civil penalty for any violation of this article within the prior two years. A person may be assessed a civil penalty from the date the violation is detected if the deadline stated is not met. Each day of a continuing violation shall constitute a separate violation.

- The Town water resources director shall determine the amount of the civil penalty to be assessed. In determining the amount of the penalty the Town water resources director shall consider the degree and extent of harm caused by the violation and the cost of rectifying the damage, the amount of money the violator saved by noncompliance, whether the violation was committed willfully, and the prior record of the violator in complying of failing to comply with this article.

- The Town water resources director shall provide notice of the civil penalty amount and basis for assessment to the Person assessed. The notice of assessment shall be served by any means authorized under G.S. 1A-1, Rule 4, and shall direct the violator to either pay the assessment or contest the assessment, within 30 days after receipt of the notice of assessment, by written demand for a hearing, or file a request with the Town for remission of the assessment within 30 days of receipt of the notice.  A remission request must be accompanied by a waiver of the right to contested case hearing pursuant to Chapter 150B of the North Carolina General Statutes and a stipulation of the facts on which the assessment was based.

- A hearing on a civil penalty shall be conducted by the Town Board of Adjustment within a reasonable time after the date of the written demand for the hearing. The board shall render its final decision on the civil penalty within 20 days after the close of the hearing record. Appeal from the final decision of the Town Board of Adjustment shall be to the superior court of the county where the violation occurred, or the location of the violator's residence or principal place of business. Such appeals must be made within 30 days of the final decision of Town Board of Adjustment.

- A request for remission of a civil penalty imposed under G.S. 113A-64 may be filed with the Town within 30 days of receipt of the notice of assessment. A remission request must be accompanied by a waiver of the right to a contested case hearing pursuant to Chapter 150B of the General Statutes and a stipulation of the facts on which the assessment was based. The following factors shall be considered in determining whether a civil penalty remission request will be approved:

  - Whether one or more of the civil penalty assessment factors in G.S.  113A-64(a)(3) were wrongly applied to the detriment of the petitioner.

  - Whether the petitioner promptly abated continuing environmental damage resulting from the violation.

  - Whether the violation was inadvertent or a result of an accident.

  - Whether the petitioner had been assessed civil penalties for any previous violations.

  - Whether payment of the civil penalty will prevent payment for necessary remedial actions or would otherwise create a significant financial hardship.

  - The assessed property tax valuation of the petitioner's property upon which the violation occurred, excluding the value of any structures located on the property.

- If payment is not received within 30 days after demand for payment is made the Town may institute a civil action to recover the amount of the assessment. The civil action may be brought in the superior court of the county where the violation occurred, or the violator's residence or principal place of business is located. Such civil actions must be filed within three years of the date the assessment was due. An assessment that is not contested and a remission that is not requested is due when the violator is served with a notice of assessment. An assessment that is contested or a remission that is requested is due at the conclusion of the administrative and judicial review of the assessment.

- The clear proceeds of civil penalties collected by the Town under this subsection shall be remitted to the Civil Penalty and Forfeiture Fund in accordance with G.S. 115C-457.2.  Penalties collected by the Town may be diminished only by the actual costs of collection.  The collection cost percentage to be used shall be established and approved by the North Carolina Office of State Budget and Management on an annual basis, based upon the computation of actual collection costs by the Town for the prior fiscal year.

- Criminal penalties. Any person who knowingly or willfully violates any provision of this article, or rule or order adopted or issued pursuant to this article, or who knowingly or willfully initiates or continues a land-disturbing activity for which an erosion control plan is required except in accordance with the terms, conditions and provisions of an approved plan, shall be guilty of a class 2 misdemeanor which may include a fine not to exceed $5,000.00 as provided in G.S. 113A-64.

(Ord. of 7-16-96, § 19; Ord. No. 05-0719-11, § 1, 7-19-05; Ord. No. 07-0821-12, § 8, 8-21-07)

Sec. 5-160. - Injunctive relief.

- Whenever the governing body has reasonable cause to believe that any Person is violating or threatening to violate this article or any rule or order adopted or issued pursuant to this article, or any term, condition, or provision of an approved erosion control plan, it may, either before or after the institution of any other action or proceeding authorized by this article, institute a civil action in the name of the Town for injunctive relief to restrain the violation or threatened violation. The action shall be brought in the superior court of the county in which the violation is occurring or is threatened.

- Upon determination by a court that an alleged violation is occurring or is threatened, the court shall enter any order or judgment that is necessary to abate the violation, to ensure that restoration is performed, or to prevent the threatened violation. The institution of an action for injunctive relief under this section shall not relieve any party to the proceedings from any civil or criminal penalty prescribed for violations of this article.

(Ord. of 7-16-96, § 20; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-161. - Restoration of areas affected by failure to comply.

The Town may require a Person who engaged in a land-disturbing activity and failed to retain sediment generated by the activity, as required by G.S. 113A-57(3), to restore the waters and land affected by the failure so as to minimize the detrimental effects of the resulting pollution by sedimentation. This authority is in addition to any other civil or criminal penalty or injunctive relief authorized under this article.

(Ord. of 7-16-96, § 21; Ord. No. 05-0719-11, § 1, 7-19-05)

Sec. 5-162. - Performance guarantee.

- Prior to the Town's issuing a letter of soil erosion and sedimentation control plan approval for an approved soil erosion and sedimentation control plan, the applicant shall provide a performance guarantee in the form of a certified check, cash or irrevocable letter of credit from any commercial bank doing business in the State of North Carolina in terms and form approved by the Town. The amount of the performance guarantee shall be in accordance with the Town of Apex Fee Schedule, based on the proposed disturbed area as identified on the approved plan and approved by the water resources director or designee.

- Compliance with this chapter and an approved soil erosion and sedimentation control plan shall be at all times the responsibility of the applicant/owner. Land-disturbing activities that violate either this chapter or the applicable approved soil erosion and sedimentation control plan after the deadline for compliance stated in an applicable notice of violation has passed shall subject applicable performance guarantees to forfeiture.

- The performance guarantee shall be used by the Town to stabilize the site and otherwise bring the site into compliance. Any monies in excess of cost of establishing protective measures shall be refunded to the person responsible for the land-disturbing activity after a certificate of completion for the project has been issued.

- The performance guarantee shall remain in full force and effect until a certificate of completion has been issued by the Water Resources Department.  Any time after the first plat is signed by the water resources director, a written request may be made to the water resources director requesting a one-time reduction of the performance guarantee  for up to 50% of the total guarantee.  If a reduction of the performance guarantee is approved the reduced amount will be based on the remaining disturbed area up to 50% of the total guarantee.  Failure to extend an irrevocable letter of credit, either original or reduced, until a certificate of completion has been issued by the Town will result in collection of the performance guarantee.

- Collection or use of the performance guarantee by the Town does not relieve the applicant, owner or financially responsible party of penalties, fines or other requirements of this chapter.

(Ord. No. 09-0804-07, § 2, 8-4-09)

Sec. 5-163. - Severability.

If any section or section or sections of this ordinance is/are held to be invalid or unenforceable, all other sections shall nevertheless continue in full force and effect.