## Sheet1
Spectrophotometric Calibration Curve Worksheet
Facility: |  |  |  | NC WW/GW Cert #
Analyst:
Parameter: |  |  | Reference Method:
Curve Date: |  |  | Instrument ID:
Std. Conc. (units) |  | Absorb. (Y) | Back-Calculated Conc.(X) (units) | % Rec. | Intercept | Slope
|  |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
|  |  | #VALUE! | #VALUE! |  | X=(Y-b)/m
|  |  | #VALUE! | #VALUE!
|  |  | #VALUE! | #VALUE! | Corr. Coefficient R= |  | #VALUE!
|  |  | #VALUE! | #VALUE!
|  |  | #VALUE! | #VALUE!
Reagent Blk |  |  | #VALUE! | #VALUE! | Blk must be ≤ ½ MRL Std
2nd Source Std Conc (units) = |  |  | #VALUE! | #VALUE!
Sample ID | Sample Absorb. | Calculated Conc. (units) |  | % Rec. | Pass/Fail | RPD | Pass/Fail
ICV |  | #VALUE! |  | #VALUE! | #VALUE! | N/A | N/A
Cal. Blank |  | #VALUE! |  | N/A | #VALUE! | N/A | N/A
Method Blank |  | #VALUE! |  | N/A | #VALUE! | N/A | N/A
Effluent |  | #VALUE! |  | N/A | N/A | N/A | N/A
Eff. Spk. |  | #VALUE! |  | #VALUE! | #VALUE! | N/A | N/A
Eff. Spk.Dup. |  | #VALUE! |  | #VALUE! | #VALUE! | #VALUE! | #VALUE!
CCV |  | #VALUE! |  | #VALUE! | #VALUE! | N/A | N/A
Cal. Blank |  | #VALUE! |  | N/A | #VALUE! | N/A | N/A | <50 | FAILED | FAILED
ICV/CCV Conc: |  | (units)
Reagent Blk must be ≤ ½ MRL Std
Spike Conc. = |  | (units)
Note on A8: list standards lowest to highest concentration for blank pass/fail evaluations to work
Note on F20: the pass/fail acceptance criterion is set 90-110% recovery here. If your lab uses a different criterion, update accordingly
Note on F24: the pass/fail acceptance criterion is set at 70-130% recovery here. If your lab uses a different criterion, update accordingly
Note on F25: the pass/fail acceptance criterion is set at 70-130% recovery here. If your lab uses a different criterion, update accordingly
Note on F26: Swanson, Beth: the pass/fail acceptance criterion is set at 90-110% recovery here. If your lab uses a different criterion, update accordingly
Note on H25: the pass/fail acceptance criterion is set at 20% RPD here. If your lab uses a different criterion, update accordingly