**NC Department of Environment and Natural Resources**

**Model Mercury Minimization Plan**

**Background**

The North Carolina Department of Environment and Natural Resources, Division of Water Resources (DENR), has issued a statewide total maximum daily load (TMDL) for mercury. The TMDL responds to a statewide fish consumption advisory for mercury. The TMDL calls for a 67% reduction in mercury levels from the year 2002 baseline mercury loading. The ultimate goal of the TMDL is to ensure safe-levels of mercury in fish throughout North Carolina for human consumption.

As explained in the TMDL, 98 percent of mercury in North Carolina waters comes from atmospheric sources – the vast majority of which are located outside of the State. Under the Clean Water Act, atmospheric deposition of mercury into surface waters is regarded as a nonpoint source. Minor amounts of mercury are discharged directly into surface waters by industrial and municipal point sources as a group. Specifically, the TMDL determined that point sources contribute less than two (2) percent of the annual mercury loadings to State waters. The TMDL allocates two percent of the statewide allowable loadings collectively to the point source sector. This does not mean that an individual discharger may not have significant levels of mercury in its discharge in terms of local water quality considerations. While we expect such instances to be rare based upon the Department’s review of statewide mercury data, dischargers with higher mercury loadings will be expected to implement more aggressive mercury controls.

Notably, unlike any other source, local governments actually reduce mercury loadings in the environment by first filtering mercury out in the treatment of public drinking water (particularly where the source of raw drinking water is surface water) and then a second time when wastewater is treated.

In order to implement the two percent point source sector wasteload allocation, the Department has developed a point source permitting strategy which is located at <http://deq.nc.gov/about/divisions/water-resources/planning/modeling-assessment/special-studies/mercury-tmdl>. The Environmental Management Commission has approved both the TMDL and the Permitting Strategy. The permitting strategy calls for certain point sources to develop and implement mercury minimization plans (MMPs). For POTWs, an MMP will be required if the facility has (1) a permitted design capacity of more than two million gallons per day and (2) mercury at quantifiable levels in their effluent. MMPs feature best management practices and have been implemented successfully in numerous states around the country. The attached document is [Utility name]’s MMP.

Typically, MMPs focus on pretreatment controls – a local government’s interaction with non-domestic users of its sewer system as well as outreach to the public at large regarding the proper use and disposal of household products containing mercury.

The MMP approach is intended as a reasonable, low-cost approach toward making some progress toward managing the two percent loading statewide from point sources. Mercury treatment and even testing is very expensive and does not make sense to reduce a small part of the already insignificant two percent overall point source annual loading to State waters.

Facility Name or Letterhead

**Model Municipal Mercury Minimization Plan**

[Date]

**SECTION I - PURPOSE**

The purpose of this Mercury Minimization Plan (“MMP”) is to describe best management practices through which **[insert discharger name]** will seek to reduce the amount of mercury discharged into its system and, ultimately, to the environment. The MMP compiles mercury reduction-related efforts to-date and potential future action items. It is designed to be a working document to help guide [**insert utility name]** in its efforts to control mercury loadings discharged into its Publicly-Owned Treatment Works (POTW) by users of the sewer system. Such a reduction in loadings to the sewer system should translate to a reduction in the amount of mercury which is discharged from the treatment plant. The management practices summarized below may also help control some of the mercury reaching our storm sewer system as well.

**SECTION II – FACILITY DESCRIPTION**

The **[insert utility name]** operates a publicly owned treatment works (POTW), including a collection system and wastewater treatment plant (WWTP), that serves **[insert location(s)]**, North Carolina.

[Describe briefly treatment process; note particularly if tertiary treatment is provided; note treatment record as warranted]

Most municipal treatment plants are not designed to remove mercury and it is exceedingly expensive to do so to very low levels. Incidental mercury removal occurs through typical municipal treatment with trace levels of mercury (and other metals) ending up in solids removed from the raw wastewater.

Mercury is not used in the treatment processes at the WWTP. Mercury may be introduced into the sewer system through a variety of sources, such as from industrial users, laboratories, and other businesses. Residual deposits of mercury are also possible in the sewer system from historic practices. Finally, trace amounts from household products and atmospheric deposition (both wet and dry) contribute to sewer system mercury loadings.

While there is typically some mercury contributed to public sewer systems statewide, it is usually in minute quantities and comprises a tiny portion of the already insignificant statewide loading for all point sources - just two percent of the annual mercury loadings to all State waters.

**[Insert any other pertinent information]**

**SECTION III – PROGRAM PLAN**

**A. EVALUATION OF POTENTIAL NON-DOMESTIC SOURCES CONTRIBUTING MERCURY TO THE POTW**

Within 24 months from the NPDES required 180-day period for development of an MMP, , the **[insert utility name]** will evaluate available information to assess the potential for non-domestic users of the sewer system to contribute mercury to the system. The information to be reviewed may include: (1) POTW influent and effluent mercury data and trends; (2) industrial user permits and associated mercury monitoring data; (3) Toxics Release Inventory (TRI); (4) state hazardous site registry and the National Priority List relating to mercury contamination; and (5) historical records of industrial sites which ~~may~~ have contributed mercury loadings to the sewer system.

The **[insert utility name]** will also survey and evaluate the following common sources of mercury in its service area: (1) dentist offices; (2) hospitals; (3) laboratories; (4) auto recyclers; and (5) other potential sources of mercury based on existing information.

The **[insert utility name]** will request that industrial users review mercury concentrations in high-volume process chemicals and demonstrate that the mercury concentrations are below industry average. The **[insert utility name]** will request that alternative sources for chemicals be explored if the mercury levels are determined to be significantly higher than would normally be expected.

The evaluation of potential non-domestic sources of mercury to the sewer system will be updated every five years, as warranted by prior sampling results and any additional new potentially significant sources to the system.

**B. ADDITIONAL CONTROL MEASURES**

This MMP identifies reasonable and cost-effective control measures to minimize mercury being discharged into the POTW. Below is a listing of initial BMPs for this POTW.

**Pollution Prevention**

Substances used at the WWTP will be evaluated to determine if they contain mercury or mercury-based compounds. Any such chemicals will be evaluated for substitution with non-mercury-containing substances.

**Housekeeping, Spill Control and Collection, and Education**

The **[insert utility name]** will develop procedures to minimize the possibility of any spill or release at the WWTP involving mercury containing substances. **[insert utility name]** will add mercury identification and proper disposal to ongoing and future operator training procedures.

**[Insert any other utility-specific housekeeping, spill control and education initiatives]**

**Public Outreach**

**[Insert Utility Name]** will make available educational information regarding sources of household mercury and appropriate use/disposal practices. This information may be posted on the **[insert utility name]’s** website. The availability of this information will be highlighted in **[insert utility’s chosen time frame]** outreach to **[insert utility name]**’s customers. The **[insert utility name]** will also facilitate public awareness regarding community collection points for mercury-containing products from residents/customers for proper disposal. Periodic reminders of such collection programs will be provided as part of **[insert utility name]**’s ongoing public outreach.

**Laboratory Practice [if applicable]**

The **[insert utility name]** operates a laboratory for purposes of complying with state and federal monitoring and sampling requirements. The laboratory is a potential source of small quantities of mercury-containing compounds. Laboratory employees will be trained in the proper handling and disposal of these materials. The laboratories have also replaced mercury thermometers with non-mercury thermometers, whenever practical.

**[Insert any other utility-specific lab practice initiatives]**

**C. TRACKING AND MONITORING**

In order to assess the implementation of the control measures, the **[insert utility name]** proposes to undertake the following evaluations beginning after the first full year that this MMP is implemented:

1. Survey annually at least ten percent (10%) of any non-domestic users identified as possible significant sources of mercury to the POTW;
2. Track the implementation of the programs outlined above;
3. Monitor influent mercury at least annually. Require significant non-domestic sources of mercury to monitor periodically, as warranted; and
4. Measure effluent mercury as required by the NPDES permit.

These efforts will allow the **[insert utility name]** to establish a baseline of influent and effluent mercury levels to assist in identifying any trends in mercury contributions from domestic and non-domestic users of the sewer system. This baseline will be tracked annually.

**[Insert any other utility-specific tracking and monitoring initiatives]**

**SECTION IV – IMPLEMENTATION OF CONTROL MEASURES**

**[Insert discussion of any prior efforts at utility to minimize actual or potential sources of mercury to wastewater (e.g., the collection and proper disposal of mercury-containing equipment at the POTW; implementation of the pretreatment program; local limits for mercury)]**

The **[insert utility name]** will implement the control measures summarized in Section III over the permit term and will update this MMP as warranted.

**SECTION V - REPORTING**

A summary of the MMP activities will be submitted as part of the NPDES permit renewal process.